## Abbreviations
Table 1. Abbreviations used for OREAS 142
Abbreviation | Explanation
< | ‘less than’
IND | indeterminate
NR | not reported
PDM3 | percent deviation of lab mean from corrected mean of means
Rel.Std.Dev. | one sigma relative standard deviation
Std.Dev. | one sigma standard deviation
Method Codes:
ABL*MS | Laser Ablation with Mass Spectrometry: ICP-MS finish
at 1000°C | loss on ignition at 1000°C
BF*XRF | lithium borate fusion with XRF finish
Legend:- | (for Method Group Tabulated Results omitted in the determination of Certified Values)
Individual | - Outlying individual values
Batch & Limits | - Outlying laboratory batch data sets and superfluous limit values

## Table A1 Abbreviations
Table A1. Explanation of abbreviations used in Tables A2 – A11.
Abbreviation | Explanation
Std.Dev. | one standard deviation
Rel.Std.Dev. | one relative standard deviation (%)
PDM3 | percent deviation of lab mean from corrected mean of means
NR | not reported
4A | four acid digest (HF-HNO3-HClO4-HCl)
PF | sodium peroxide fusion
BF | lithium metaborate fusion
IF | iodide fusion
AAS | atomic absorption spectrometry
OES | inductively coupled plasma optical emission spectrometry
MS | inductively coupled plasma mass spectrometry
PPP | pressed powder pellet
XRF | x-ray fluorescence

## Certified Values
Table 2. Certified Values, SD's, 95% Confidence and Tolerance Limits for OREAS 142
Constituent | Certified | SD | 95% Confidence Limits |  | 95% Tolerance Limits
| Value |  | Low | High | Low | High
Silver, Ag (ppm) | 1.2216 | 0.12278 | 1.1279 | 1.3153 | 1.1405 | 1.3027
Arsenic, As (ppm) | 583.9878 | 38.2501 | 555.2594 | 612.7162 | 569.8195 | 598.1561
Bismuth, Bi (ppm) | 241.6545 | 16.884 | 228.9854 | 254.3236 | 236.0331 | 247.276
Copper, Cu (ppm) | 1465.9141 | 65.0002 | 1419.9666 | 1511.8617 | 1438.764 | 1493.0642
Indium, In (ppm) | 44.7407 | 5.0246 | 39.4127 | 50.0687 | 43.4582 | 46.0232
Molybdenum, Mo (ppm) | 2.9903 | 0.18549 | 2.9367 | 3.0439 | 2.8246 | 3.156
Lead, Pb (ppm) | 54.2631 | 3.7847 | 51.6365 | 56.8897 | 52.0551 | 56.4711
Zinc, Zn (ppm) | 2436.4072 | 82.0474 | 2380.8447 | 2491.9697 | 2352.2461 | 2520.5684
Tin via fusion (wt.%) | 1.04 | 0.047021 | 1.0056 | 1.0744 | 1.0226 | 1.0573
Tin via PPP (wt.%) | 1.0815 | 0.0389 | 1.0125 | 1.1505 | 1.0661 | 1.0969

## Indicative Values
Table 3. Indicative Values for OREAS 142
Constituent | Unit | Value | Constituent | Unit | Value | Constituent | Unit | Value
Laser Ablation ICP-MS
Ag | ppm | 1 | Ho | ppm | 2.095 | Sn | ppm | 9615
As | ppm | 576 | In | ppm | 37.3 | Sr | ppm | 108
Ba | ppm | 415 | La | ppm | 71.1 | Ta | ppm | 1.29
Be | ppm | 12.6 | Lu | ppm | 0.75 | Tb | ppm | 1.705
Bi | ppm | 245 | Mn | wt.% | 0.2725 | Te | ppm | 0.5
Cd | ppm | 2.45 | Mo | ppm | 2.6 | Th | ppm | 21.6
Ce | ppm | 128.5 | Nb | ppm | 15.7 | Ti | wt.% | 0.468
Co | ppm | 25.95 | Nd | ppm | 57.75 | Tl | ppm | 1.7
Cr | ppm | 92.5 | Ni | ppm | 45 | Tm | ppm | 0.86
Cs | ppm | 18.6 | Pb | ppm | 50.5 | U | ppm | 5.89
Cu | ppm | 1415 | Pr | ppm | 16.3 | V | ppm | 154
Dy | ppm | 10.25 | Rb | ppm | 110 | W | ppm | 64.25
Er | ppm | 5.865 | Re | ppm | < 0.01 | Y | ppm | 67.15
Eu | ppm | 2.61 | Sb | ppm | 44.45 | Yb | ppm | 5.085
Ga | ppm | 32.4 | Sc | ppm | 19.45 | Zn | ppm | 2360
Gd | ppm | 10.35 | Se | ppm | 3.75 | Zr | ppm | 260
Hf | ppm | 8.115 | Sm | ppm | 12.3
Borate Fusion XRF
Al2O3 | wt.% | 18.36 | Fe2O3 | wt.% | 25.25 | Pb | ppm | 60
As | ppm | 575 | K2O | wt.% | 0.818 | SiO2 | wt.% | 36.355
Ba | ppm | 415 | MgO | wt.% | 0.68 | Sn | ppm | 10200
CaO | wt.% | 3.265 | MnO | wt.% | 0.38 | SO3 | wt.% | 0.099
Co | ppm | 25 | Na2O | wt.% | 0.475 | TiO2 | wt.% | 0.791
Cr | ppm | 90 | Ni | ppm | 50 | U | ppm | < 10
Cu | ppm | 1415 | P2O5 | wt.% | 0.1265 | Zn | ppm | 2340
Thermogravimetry
LOI1000 | wt.% | 10.305

## Performance Gates
Table 4. Pooled-Lab Performance Gates for OREAS 142
Constituent | Certified Value | Absolute Standard Deviations |  |  |  |  | Relative Standard Deviations |  |  | 5% window
|  | 1SD | 2SD Low | 2SD High | 3SD Low | 3SD High | 1RSD | 2RSD | 3RSD | Low | High
Silver, Ag (ppm) | 1.2216 | 0.12278 | 0.97605 | 1.4672 | 0.85327 | 1.59 | 10.05% | 20.1% | 30.15% | 1.1605 | 1.2827
Arsenic, As (ppm) | 583.9878 | 38.2501 | 507.4877 | 660.4879 | 469.2376 | 698.7379 | 6.55% | 13.1% | 19.65% | 554.7884 | 613.1872
Bismuth, Bi (ppm) | 241.6545 | 16.884 | 207.8866 | 275.4225 | 191.0026 | 292.3064 | 6.987% | 13.97% | 20.96% | 229.5718 | 253.7372
Copper, Cu (ppm) | 1465.9141 | 65.0002 | 1335.9137 | 1595.9145 | 1270.9135 | 1660.9147 | 4.434% | 8.868% | 13.3% | 1392.6184 | 1539.2098
Indium, In (ppm) | 44.7407 | 5.0246 | 34.6916 | 54.7898 | 29.667 | 59.8144 | 11.23% | 22.46% | 33.69% | 42.5037 | 46.9778
Molybdenum, Mo (ppm) | 2.9903 | 0.18549 | 2.6193 | 3.3613 | 2.4338 | 3.5468 | 6.203% | 12.41% | 18.61% | 2.8408 | 3.1398
Lead, Pb (ppm) | 54.2631 | 3.7847 | 46.6937 | 61.8325 | 42.909 | 65.6172 | 6.975% | 13.95% | 20.92% | 51.5499 | 56.9763
Zinc, Zn (ppm) | 2436.4072 | 82.0474 | 2272.3124 | 2600.502 | 2190.265 | 2682.5494 | 3.368% | 6.735% | 10.1% | 2314.5869 | 2558.2276
Tin via fusion (wt.%) | 1.04 | 0.047021 | 0.94595 | 1.134 | 0.89893 | 1.1811 | 4.521% | 9.043% | 13.56% | 0.98799 | 1.092
Tin via PPP (wt.%) | 1.0815 | 0.0389 | 1.0037 | 1.1593 | 0.96478 | 1.1982 | 3.597% | 7.194% | 10.79% | 1.0274 | 1.1356

## Laser Ablation
| Analytical results for Ag in OREAS 142 (Indicative Value 1 ppm) |  |  | Indicative
Ag | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 1 | 1
| 1 | 2 | 1 | 1
| Mean |  | 1 | 16
| Median |  | 1 | 1
| Std Dev. |  | 0 | 7
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for As in OREAS 142 (Indicative Value 576 ppm) |  |  | Indicative
As | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 580 | 1
| 1 | 2 | 572 | 2
| Mean |  | 576 | 16
| Median |  | 576 | 576
| Std Dev. |  | 5.6569 | 8
| Rel.Std.Dev. |  | 0.9821%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ba in OREAS 142 (Indicative Value 415 ppm) |  |  | Indicative
Ba | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 410 | 1
| 1 | 2 | 420 | 3
| Mean |  | 415 | 16
| Median |  | 415 | 415
| Std Dev. |  | 7.0711 | 9
| Rel.Std.Dev. |  | 1.704%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Be in OREAS 142 (Indicative Value 12.6 ppm) |  |  | Indicative
Be | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 11.8 | 1
| 1 | 2 | 13.4 | 4
| Mean |  | 12.6 | 16
| Median |  | 12.6 | 12.6
| Std Dev. |  | 1.1314 | 10
| Rel.Std.Dev. |  | 8.979%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Bi in OREAS 142 (Indicative Value 245 ppm) |  |  | Indicative
Bi | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 245 | 1
| 1 | 2 | 245 | 5
| Mean |  | 245 | 16
| Median |  | 245 | 245
| Std Dev. |  | 0 | 11
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Cd in OREAS 142 (Indicative Value 2.45 ppm) |  |  | Indicative
Cd | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 2.7 | 1
| 1 | 2 | 2.2 | 6
| Mean |  | 2.45 | 16
| Median |  | 2.45 | 2.45
| Std Dev. |  | 0.35355 | 12
| Rel.Std.Dev. |  | 14.43%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ce in OREAS 142 (Indicative Value 129 ppm) |  |  | Indicative
Ce | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 128 | 1
| 1 | 2 | 129 | 7
| Mean |  | 128.5 | 16
| Median |  | 128.5 | 128.5
| Std Dev. |  | 0.70711 | 13
| Rel.Std.Dev. |  | 0.5503%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Co in OREAS 142 (Indicative Value 26 ppm) |  |  | Indicative
Co | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 24.8 | 1
| 1 | 2 | 27.1 | 8
| Mean |  | 25.95 | 16
| Median |  | 25.95 | 25.95
| Std Dev. |  | 1.6263 | 14
| Rel.Std.Dev. |  | 6.267%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Cr in OREAS 142 (Indicative Value 93 ppm) |  |  | Indicative
Cr | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 94 | 1
| 1 | 2 | 91 | 9
| Mean |  | 92.5 | 16
| Median |  | 92.5 | 92.5
| Std Dev. |  | 2.1213 | 15
| Rel.Std.Dev. |  | 2.293%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Cs in OREAS 142 (Indicative Value 18.6 ppm) |  |  | Indicative
Cs | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 18.6 | 1
| 1 | 2 | 18.6 | 10
| Mean |  | 18.6 | 16
| Median |  | 18.6 | 18.6
| Std Dev. |  | 0 | 16
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Cu in OREAS 142 (Indicative Value 1415 ppm) |  |  | Indicative
Cu | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 1420 | 1
| 1 | 2 | 1410 | 11
| Mean |  | 1415 | 16
| Median |  | 1415 | 1415
| Std Dev. |  | 7.0711 | 17
| Rel.Std.Dev. |  | 0.4997%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Dy in OREAS 142 (Indicative Value 10.3 ppm) |  |  | Indicative
Dy | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 10.5 | 1
| 1 | 2 | 10 | 12
| Mean |  | 10.25 | 16
| Median |  | 10.25 | 10.25
| Std Dev. |  | 0.35355 | 18
| Rel.Std.Dev. |  | 3.449%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Er in OREAS 142 (Indicative Value 5.87 ppm) |  |  | Indicative
Er | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 6.05 | 1
| 1 | 2 | 5.68 | 13
| Mean |  | 5.865 | 16
| Median |  | 5.865 | 5.865
| Std Dev. |  | 0.26163 | 19
| Rel.Std.Dev. |  | 4.461%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Eu in OREAS 142 (Indicative Value 2.61 ppm) |  |  | Indicative
Eu | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 2.77 | 1
| 1 | 2 | 2.45 | 14
| Mean |  | 2.61 | 16
| Median |  | 2.61 | 2.61
| Std Dev. |  | 0.22627 | 20
| Rel.Std.Dev. |  | 8.67%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Ga in OREAS 142 (Indicative Value 32.4 ppm) |  |  | Indicative
Ga | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 31.9 | 1
| 1 | 2 | 32.9 | 15
| Mean |  | 32.4 | 16
| Median |  | 32.4 | 32.4
| Std Dev. |  | 0.70711 | 21
| Rel.Std.Dev. |  | 2.182%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Gd in OREAS 142 (Indicative Value 10.4 ppm) |  |  | Indicative
Gd | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 10.6 | 1
| 1 | 2 | 10.1 | 16
| Mean |  | 10.35 | 16
| Median |  | 10.35 | 10.35
| Std Dev. |  | 0.35355 | 22
| Rel.Std.Dev. |  | 3.416%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Hf in OREAS 142 (Indicative Value 8.12 ppm) |  |  | Indicative
Hf | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 8.34 | 1
| 1 | 2 | 7.89 | 17
| Mean |  | 8.115 | 16
| Median |  | 8.115 | 8.115
| Std Dev. |  | 0.3182 | 23
| Rel.Std.Dev. |  | 3.921%
| PDM3 |  | -2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Ho in OREAS 142 (Indicative Value 2.1 ppm) |  |  | Indicative
Ho | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 2.18 | 1
| 1 | 2 | 2.01 | 1
| Mean |  | 2.095 | 16
| Median |  | 2.095 | 2.095
| Std Dev. |  | 0.12021 | 7
| Rel.Std.Dev. |  | 5.738%
| PDM3 |  | -2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for In in OREAS 142 (Indicative Value 37.3 ppm) |  |  | Indicative
In | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 37.7 | 1
| 1 | 2 | 36.9 | 2
| Mean |  | 37.3 | 16
| Median |  | 37.3 | 37.3
| Std Dev. |  | 0.56569 | 8
| Rel.Std.Dev. |  | 1.517%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for La in OREAS 142 (Indicative Value 71 ppm) |  |  | Indicative
La | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 70.1 | 1
| 1 | 2 | 72.1 | 3
| Mean |  | 71.1 | 16
| Median |  | 71.1 | 71.1
| Std Dev. |  | 1.4142 | 9
| Rel.Std.Dev. |  | 1.989%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Lu in OREAS 142 (Indicative Value 0.75 ppm) |  |  | Indicative
Lu | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.73 | 1
| 1 | 2 | 0.77 | 4
| Mean |  | 0.75 | 16
| Median |  | 0.75 | 0.75
| Std Dev. |  | 0.028284 | 10
| Rel.Std.Dev. |  | 3.771%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Mn in OREAS 142 (Indicative Value 0.273 wt.%) |  |  | Indicative
Mn | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | ABL*MS | 3
3
| 1 | 1 | 0.27 | 1
| 1 | 2 | 0.275 | 5
| Mean |  | 0.2725 | 16
| Median |  | 0.2725 | 0.2725
| Std Dev. |  | 0.0035355 | 11
| Rel.Std.Dev. |  | 1.297%
| PDM3 |  | -2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Mo in OREAS 142 (Indicative Value 2.6 ppm) |  |  | Indicative
Mo | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 2.4 | 1
| 1 | 2 | 2.8 | 6
| Mean |  | 2.6 | 16
| Median |  | 2.6 | 2.6
| Std Dev. |  | 0.28284 | 12
| Rel.Std.Dev. |  | 10.88%
| PDM3 |  | -2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Nb in OREAS 142 (Indicative Value 15.7 ppm) |  |  | Indicative
Nb | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 15.8 | 1
| 1 | 2 | 15.6 | 7
| Mean |  | 15.7 | 16
| Median |  | 15.7 | 15.7
| Std Dev. |  | 0.14142 | 13
| Rel.Std.Dev. |  | 0.9008%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Nd in OREAS 142 (Indicative Value 58 ppm) |  |  | Indicative
Nd | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 58.2 | 1
| 1 | 2 | 57.3 | 8
| Mean |  | 57.75 | 16
| Median |  | 57.75 | 57.75
| Std Dev. |  | 0.6364 | 14
| Rel.Std.Dev. |  | 1.102%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ni in OREAS 142 (Indicative Value 45 ppm) |  |  | Indicative
Ni | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 44 | 1
| 1 | 2 | 46 | 9
| Mean |  | 45 | 16
| Median |  | 45 | 45
| Std Dev. |  | 1.4142 | 15
| Rel.Std.Dev. |  | 3.143%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Pb in OREAS 142 (Indicative Value 51 ppm) |  |  | Indicative
Pb | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 50 | 1
| 1 | 2 | 51 | 10
| Mean |  | 50.5 | 16
| Median |  | 50.5 | 50.5
| Std Dev. |  | 0.70711 | 16
| Rel.Std.Dev. |  | 1.4%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Pr in OREAS 142 (Indicative Value 16.3 ppm) |  |  | Indicative
Pr | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 16.2 | 1
| 1 | 2 | 16.4 | 11
| Mean |  | 16.3 | 16
| Median |  | 16.3 | 16.3
| Std Dev. |  | 0.14142 | 17
| Rel.Std.Dev. |  | 0.8676%
| PDM3 |  | -2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Rb in OREAS 142 (Indicative Value 110 ppm) |  |  | Indicative
Rb | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 110 | 1
| 1 | 2 | 110 | 12
| Mean |  | 110 | 16
| Median |  | 110 | 110
| Std Dev. |  | 0 | 18
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Re in OREAS 142 (Indicative Value < 0.01 ppm) |  |  | Indicative
Re | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 3
3
| 1 | 1 | < 0.01 | 1
| 1 | 2 | < 0.01 | 13
| Mean |  |  | 16
| Median |  |  | < 0.01
| Std Dev. |  |  | 19
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for Sb in OREAS 142 (Indicative Value 44.5 ppm) |  |  | Indicative
Sb | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 44.7 | 1
| 1 | 2 | 44.2 | 14
| Mean |  | 44.45 | 16
| Median |  | 44.45 | 44.45
| Std Dev. |  | 0.35355 | 20
| Rel.Std.Dev. |  | 0.7954%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Sc in OREAS 142 (Indicative Value 19.5 ppm) |  |  | Indicative
Sc | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 19 | 1
| 1 | 2 | 19.9 | 15
| Mean |  | 19.45 | 16
| Median |  | 19.45 | 19.45
| Std Dev. |  | 0.6364 | 21
| Rel.Std.Dev. |  | 3.272%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Se in OREAS 142 (Indicative Value 3.75 ppm) |  |  | Indicative
Se | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 5 | 1
| 1 | 2 | < 5 | 16
| Mean |  | 5 | 16
| Median |  | 5 | 3.75
| Std Dev. |  |  | 22
Rel.Std.Dev.
| PDM3 |  | 33.33%
| Z-Score (Absolute) |  | NA
| Analytical results for Sm in OREAS 142 (Indicative Value 12.3 ppm) |  |  | Indicative
Sm | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 11.7 | 1
| 1 | 2 | 12.9 | 17
| Mean |  | 12.3 | 16
| Median |  | 12.3 | 12.3
| Std Dev. |  | 0.84853 | 23
| Rel.Std.Dev. |  | 6.899%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Sn in OREAS 142 (Indicative Value 9615 ppm) |  |  | Indicative
Sn | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 9500 | 1
| 1 | 2 | 9730 | 1
| Mean |  | 9615 | 16
| Median |  | 9615 | 9615
| Std Dev. |  | 162.6346 | 7
| Rel.Std.Dev. |  | 1.691%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Sr in OREAS 142 (Indicative Value 108 ppm) |  |  | Indicative
Sr | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 107 | 1
| 1 | 2 | 109 | 2
| Mean |  | 108 | 16
| Median |  | 108 | 108
| Std Dev. |  | 1.4142 | 8
| Rel.Std.Dev. |  | 1.309%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ta in OREAS 142 (Indicative Value 1.29 ppm) |  |  | Indicative
Ta | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 1.29 | 1
| 1 | 2 | 1.29 | 3
| Mean |  | 1.29 | 16
| Median |  | 1.29 | 1.29
| Std Dev. |  | 0 | 9
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Tb in OREAS 142 (Indicative Value 1.71 ppm) |  |  | Indicative
Tb | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 1.69 | 1
| 1 | 2 | 1.72 | 4
| Mean |  | 1.705 | 16
| Median |  | 1.705 | 1.705
| Std Dev. |  | 0.021213 | 10
| Rel.Std.Dev. |  | 1.244%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Te in OREAS 142 (Indicative Value 0.5 ppm) |  |  | Indicative
Te | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.4 | 1
| 1 | 2 | 0.6 | 5
| Mean |  | 0.5 | 16
| Median |  | 0.5 | 0.5
| Std Dev. |  | 0.14142 | 11
| Rel.Std.Dev. |  | 28.28%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Th in OREAS 142 (Indicative Value 21.6 ppm) |  |  | Indicative
Th | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 21.5 | 1
| 1 | 2 | 21.7 | 6
| Mean |  | 21.6 | 16
| Median |  | 21.6 | 21.6
| Std Dev. |  | 0.14142 | 12
| Rel.Std.Dev. |  | 0.6547%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ti in OREAS 142 (Indicative Value 0.468 wt.%) |  |  | Indicative
Ti | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | ABL*MS | 3
3
| 1 | 1 | 0.475 | 1
| 1 | 2 | 0.461 | 7
| Mean |  | 0.468 | 16
| Median |  | 0.468 | 0.468
| Std Dev. |  | 0.0098995 | 13
| Rel.Std.Dev. |  | 2.115%
| PDM3 |  | -1.11e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Tl in OREAS 142 (Indicative Value 1.7 ppm) |  |  | Indicative
Tl | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 1.8 | 1
| 1 | 2 | 1.6 | 8
| Mean |  | 1.7 | 16
| Median |  | 1.7 | 1.7
| Std Dev. |  | 0.14142 | 14
| Rel.Std.Dev. |  | 8.319%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Tm in OREAS 142 (Indicative Value 0.86 ppm) |  |  | Indicative
Tm | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.88 | 1
| 1 | 2 | 0.84 | 9
| Mean |  | 0.86 | 16
| Median |  | 0.86 | 0.86
| Std Dev. |  | 0.028284 | 15
| Rel.Std.Dev. |  | 3.289%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for U in OREAS 142 (Indicative Value 5.89 ppm) |  |  | Indicative
U | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 6.04 | 1
| 1 | 2 | 5.74 | 10
| Mean |  | 5.89 | 16
| Median |  | 5.89 | 5.89
| Std Dev. |  | 0.21213 | 16
| Rel.Std.Dev. |  | 3.602%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for V in OREAS 142 (Indicative Value 154 ppm) |  |  | Indicative
V | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 158 | 1
| 1 | 2 | 150 | 11
| Mean |  | 154 | 16
| Median |  | 154 | 154
| Std Dev. |  | 5.6569 | 17
| Rel.Std.Dev. |  | 3.673%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for W in OREAS 142 (Indicative Value 64 ppm) |  |  | Indicative
W | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 64.3 | 1
| 1 | 2 | 64.2 | 12
| Mean |  | 64.25 | 16
| Median |  | 64.25 | 64.25
| Std Dev. |  | 0.070711 | 18
| Rel.Std.Dev. |  | 0.1101%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Y in OREAS 142 (Indicative Value 67 ppm) |  |  | Indicative
Y | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 67.9 | 1
| 1 | 2 | 66.4 | 13
| Mean |  | 67.15 | 16
| Median |  | 67.15 | 67.15
| Std Dev. |  | 1.0607 | 19
| Rel.Std.Dev. |  | 1.58%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Yb in OREAS 142 (Indicative Value 5.09 ppm) |  |  | Indicative
Yb | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 5.06 | 1
| 1 | 2 | 5.11 | 14
| Mean |  | 5.085 | 16
| Median |  | 5.085 | 5.085
| Std Dev. |  | 0.035355 | 20
| Rel.Std.Dev. |  | 0.6953%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Zn in OREAS 142 (Indicative Value 2360 ppm) |  |  | Indicative
Zn | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 2330 | 1
| 1 | 2 | 2390 | 15
| Mean |  | 2360 | 16
| Median |  | 2360 | 2360
| Std Dev. |  | 42.4264 | 21
| Rel.Std.Dev. |  | 1.798%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Zr in OREAS 142 (Indicative Value 260 ppm) |  |  | Indicative
Zr | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 262 | 1
| 1 | 2 | 258 | 16
| Mean |  | 260 | 16
| Median |  | 260 | 260
| Std Dev. |  | 2.8284 | 22
| Rel.Std.Dev. |  | 1.088%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
Note on C13: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C27: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C41: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C55: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C69: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C83: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C97: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C111: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C125: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C139: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C153: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C167: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C181: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C195: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C209: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C223: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C237: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C251: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C265: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C279: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C293: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C307: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C321: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C335: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C349: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C363: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C377: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C391: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C405: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C419: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C433: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C447: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C461: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C475: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C489: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C503: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C517: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C531: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C545: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C559: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C573: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C587: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C601: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C615: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C629: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C643: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C657: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C671: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C685: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C699: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.

## Fusion XRF
| Analytical results for Al2O3 in OREAS 142 (Indicative Value 18.36 wt.%) |  |  | Indicative
Al2O3 | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 2
2
| 1 | 1 | 18.36 | 1
| 1 | 2 | 18.36 | 19
| Mean |  | 18.36 | 16
| Median |  | 18.36 | 18.36
| Std Dev. |  | 0 | 25
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for As in OREAS 142 (Indicative Value 575 ppm) |  |  | Indicative
As | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | BF*XRF | 0
0
| 1 | 1 | 580 | 1
| 1 | 2 | 570 | 2
| Mean |  | 575 | 16
| Median |  | 575 | 575
| Std Dev. |  | 7.0711 | 26
| Rel.Std.Dev. |  | 1.23%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ba in OREAS 142 (Indicative Value 415 ppm) |  |  | Indicative
Ba | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | BF*XRF | 0
0
| 1 | 1 | 410 | 1
| 1 | 2 | 420 | 3
| Mean |  | 415 | 16
| Median |  | 415 | 415
| Std Dev. |  | 7.0711 | 27
| Rel.Std.Dev. |  | 1.704%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for CaO in OREAS 142 (Indicative Value 3.27 wt.%) |  |  | Indicative
CaO | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 2
2
| 1 | 1 | 3.27 | 1
| 1 | 2 | 3.26 | 22
| Mean |  | 3.265 | 16
| Median |  | 3.265 | 3.265
| Std Dev. |  | 0.0070711 | 28
| Rel.Std.Dev. |  | 0.2166%
| PDM3 |  | -1.11e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Co in OREAS 142 (Indicative Value 25 ppm) |  |  | Indicative
Co | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | BF*XRF | 1
1
| 1 | 1 | 30 | 1
| 1 | 2 | 20 | 8
| Mean |  | 25 | 16
| Median |  | 25 | 25
| Std Dev. |  | 7.0711 | 29
| Rel.Std.Dev. |  | 28.28%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Cr in OREAS 142 (Indicative Value 90 ppm) |  |  | Indicative
Cr | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | BF*XRF | 0
0
| 1 | 1 | 90 | 1
| 1 | 2 | 90 | 9
| Mean |  | 90 | 16
| Median |  | 90 | 90
| Std Dev. |  | 0 | 30
| Rel.Std.Dev. |  | 0%
| PDM3 |  | -1.11e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Cu in OREAS 142 (Indicative Value 1415 ppm) |  |  | Indicative
Cu | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | BF*XRF | 0
0
| 1 | 1 | 1410 | 1
| 1 | 2 | 1420 | 11
| Mean |  | 1415 | 16
| Median |  | 1415 | 1415
| Std Dev. |  | 7.0711 | 31
| Rel.Std.Dev. |  | 0.4997%
| PDM3 |  | -1.11e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Fe2O3 in OREAS 142 (Indicative Value 25.25 wt.%) |  |  | Indicative
Fe2O3 | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 2
2
| 1 | 1 | 25.27 | 1
| 1 | 2 | 25.23 | 19
| Mean |  | 25.25 | 16
| Median |  | 25.25 | 25.25
| Std Dev. |  | 0.028284 | 25
| Rel.Std.Dev. |  | 0.112%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for K2O in OREAS 142 (Indicative Value 0.818 wt.%) |  |  | Indicative
K2O | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 3
3
| 1 | 1 | 0.819 | 1
| 1 | 2 | 0.817 | 20
| Mean |  | 0.818 | 16
| Median |  | 0.818 | 0.818
| Std Dev. |  | 0.0014142 | 26
| Rel.Std.Dev. |  | 0.1729%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for MgO in OREAS 142 (Indicative Value 0.68 wt.%) |  |  | Indicative
MgO | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 3
3
| 1 | 1 | 0.68 | 1
| 1 | 2 | 0.68 | 21
| Mean |  | 0.68 | 16
| Median |  | 0.68 | 0.68
| Std Dev. |  | 0 | 27
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for MnO in OREAS 142 (Indicative Value 0.38 wt.%) |  |  | Indicative
MnO | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 3
3
| 1 | 1 | 0.38 | 1
| 1 | 2 | 0.38 | 22
| Mean |  | 0.38 | 16
| Median |  | 0.38 | 0.38
| Std Dev. |  | 0 | 28
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Na2O in OREAS 142 (Indicative Value 0.475 wt.%) |  |  | Indicative
Na2O | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 3
3
| 1 | 1 | 0.46 | 1
| 1 | 2 | 0.49 | 23
| Mean |  | 0.475 | 16
| Median |  | 0.475 | 0.475
| Std Dev. |  | 0.021213 | 29
| Rel.Std.Dev. |  | 4.466%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ni in OREAS 142 (Indicative Value 50 ppm) |  |  | Indicative
Ni | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | BF*XRF | 0
0
| 1 | 1 | 60 | 1
| 1 | 2 | 40 | 9
| Mean |  | 50 | 16
| Median |  | 50 | 50
| Std Dev. |  | 14.1421 | 30
| Rel.Std.Dev. |  | 28.28%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for P2O5 in OREAS 142 (Indicative Value 0.127 wt.%) |  |  | Indicative
P2O5 | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 3
3
| 1 | 1 | 0.126 | 1
| 1 | 2 | 0.127 | 25
| Mean |  | 0.1265 | 16
| Median |  | 0.1265 | 0.1265
| Std Dev. |  | 0.00070711 | 31
| Rel.Std.Dev. |  | 0.559%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Pb in OREAS 142 (Indicative Value 60 ppm) |  |  | Indicative
Pb | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | BF*XRF | 0
0
| 1 | 1 | 60 | 1
| 1 | 2 | 60 | 10
| Mean |  | 60 | 16
| Median |  | 60 | 60
| Std Dev. |  | 0 | 25
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for SiO2 in OREAS 142 (Indicative Value 36.36 wt.%) |  |  | Indicative
SiO2 | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 2
2
| 1 | 1 | 36.34 | 1
| 1 | 2 | 36.37 | 20
| Mean |  | 36.355 | 16
| Median |  | 36.355 | 36.355
| Std Dev. |  | 0.021213 | 26
| Rel.Std.Dev. |  | 0.05835%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Sn in OREAS 142 (Indicative Value 10200 ppm) |  |  | Indicative
Sn | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | BF*XRF | 0
0
| 1 | 1 | 10200 | 1
| 1 | 2 | 10200 | 1
| Mean |  | 10200 | 16
| Median |  | 10200 | 10200
| Std Dev. |  | 0 | 27
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for SO3 in OREAS 142 (Indicative Value 0.099 wt.%) |  |  | Indicative
SO3 | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 3
3
| 1 | 1 | 0.099 | 1
| 1 | 2 | 0.099 | 22
| Mean |  | 0.099 | 16
| Median |  | 0.099 | 0.099
| Std Dev. |  | 0 | 28
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for TiO2 in OREAS 142 (Indicative Value 0.791 wt.%) |  |  | Indicative
TiO2 | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | BF*XRF | 3
3
| 1 | 1 | 0.795 | 1
| 1 | 2 | 0.787 | 23
| Mean |  | 0.791 | 16
| Median |  | 0.791 | 0.791
| Std Dev. |  | 0.0056569 | 29
| Rel.Std.Dev. |  | 0.7152%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for U in OREAS 142 (Indicative Value < 10 ppm) |  |  | Indicative
U | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | BF*XRF | 1
1
| 1 | 1 | < 10 | 1
| 1 | 2 | < 10 | 10
| Mean |  |  | 16
| Median |  |  | < 10
| Std Dev. |  |  | 30
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for Zn in OREAS 142 (Indicative Value 2340 ppm) |  |  | Indicative
Zn | Round | Replicate | Lab | 1
| No | No | 01 | ppm
|  |  | BF*XRF | 0
0
| 1 | 1 | 2330 | 1
| 1 | 2 | 2350 | 15
| Mean |  | 2340 | 16
| Median |  | 2340 | 2340
| Std Dev. |  | 14.1421 | 31
| Rel.Std.Dev. |  | 0.6044%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
Note on C13: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C27: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C41: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C55: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C69: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C83: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C97: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C111: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C125: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C139: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C153: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C167: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C181: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C195: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C209: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C223: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C237: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C251: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C265: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C279: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C293: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.

## Thermograv
| Analytical results for LOI1000 in OREAS 142 (Indicative Value 10.31 wt.%) |  |  | Indicative
LOI1000 | Round | Replicate | Lab | 1
| No | No | 01 | wt.%
|  |  | at 1000°C | 2
2
| 1 | 1 | 10.34 | 1
| 1 | 2 | 10.27 | 27
| Mean |  | 10.305 | 16
| Median |  | 10.305 | 10.305
| Std Dev. |  | 0.049497 | 33
| Rel.Std.Dev. |  | 0.4803%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
Note on C13: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.

## Ag
Table A2. Results for Ag in OREAS 142 (abbreviations as in Table A1; values in wt.%).
Replicate | Actlabs | Ultra Trace | Genalysis | SGS | Acme | ALS | ALS | SGS | OMAC | ITS
No. | Ancaster | Perth | Perth | Perth | Vancouver | Brisbane | Vancouver | Lakefield | Loughrea | Jakarta
| 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*OES
1 | 1.19 | 1 | 1.2 | 1.4 | 1.1 | 1.17 | 1.31 | 1.3 | 1.3926 | 1.8
2 | 1.21 | 1 | 1.1 | 1.3 | 1.1 | 1.17 | 1.28 | 1.3 | 1.3596 | 1.9
3 | 1.2 | 1 | 1.3 | 1.3 | 1.1 | 1.21 | 1.2 | 1.3 | 1.4366 | 1.8
4 | 1.26 | 1 | 1.1 | 1.4 | 1.1 | 1.19 | 1.24 | 1.3 | 1.4223 | 2
5 | 1.27 | 1 | 1.1 | 1.3 | 1.2 | 1.19 | 1.27 | 1.3 | 1.4014 | 1.8
Mean | 1.226 | 1 | 1.16 | 1.34 | 1.12 | 1.186 | 1.26 | 1.3 | 1.4025 | 1.86
Median | 1.21 | 1 | 1.1 | 1.3 | 1.1 | 1.19 | 1.27 | 1.3 | 1.4014 | 1.8
Std.Dev. | 0.036469 | 0 | 0.089443 | 0.054772 | 0.044721 | 0.016733 | 0.041833 | 0 | 0.029557 | 0.089443
Rel.Std.Dev. | 2.975% | 0% | 7.711% | 4.087% | 3.993% | 1.411% | 3.32% | 0% | 2.107% | 4.809%
PDM3 | 0.3593% | -18.14% | -5.043% | 9.691% | -8.318% | -2.915% | 3.142% | 6.417% | 14.81% | 52.26%

## As
Table A3. Results for As in OREAS 142 (abbreviations as in Table A1; values in wt.%).
Replicate | Actlabs | Ultra Trace | Genalysis | SGS | Acme | ALS | ALS | SGS | OMAC | ITS
No. | Ancaster | Perth | Perth | Perth | Vancouver | Brisbane | Vancouver | Lakefield | Loughrea | Jakarta
| 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*OES
1 | 580 | 477 | 602 | 598 | 584 | 570 | 657 | 640 | 526.7007 | 554
2 | 618 | 468 | 558 | 568 | 575 | 575 | 658 | 660 | 526.8614 | 553
3 | 612 | 492 | 609 | 570 | 563 | 594 | 634 | 610 | 524.0188 | 555
4 | 598 | 476 | 545 | 581 | 562 | 592 | 638 | 640 | 520.3545 | 552
5 | 573 | 481 | 559 | 579 | 560 | 576 | 626 | 630 | 523.5152 | 550
Mean | 596.2 | 478.8 | 574.6 | 579.2 | 568.8 | 581.4 | 642.6 | 636 | 524.2901 | 552.8
Median | 598 | 477 | 559 | 579 | 563 | 576 | 638 | 640 | 524.0188 | 553
Std.Dev. | 19.5499 | 8.7579 | 28.8496 | 11.9038 | 10.3296 | 10.8536 | 14.2759 | 18.1659 | 2.6733 | 1.9235
Rel.Std.Dev. | 3.279% | 1.829% | 5.021% | 2.055% | 1.816% | 1.867% | 2.222% | 2.856% | 0.5099% | 0.348%
PDM3 | 2.091% | -18.01% | -1.608% | -0.8198% | -2.601% | -0.4431% | 10.04% | 8.906% | -10.22% | -5.34%

## Bi
Table A4. Results for Bi in OREAS 142 (abbreviations as in Table A1; values in wt.%).
Replicate | Actlabs | Ultra Trace | Genalysis | SGS | Acme | ALS | ALS | SGS | OMAC | ITS
No. | Ancaster | Perth | Perth | Perth | Vancouver | Brisbane | Vancouver | Lakefield | Loughrea | Jakarta
| 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*OES
1 | 308 | 230 | 274.72 | 227 | 252.8 | 239 | 279 | 240 | 233.9511 | 240
2 | 311 | 230 | 253.55 | 226 | 242.9 | 240 | 278 | 240 | 232.0989 | 234
3 | 313 | 222 | 271.97 | 224 | 248.5 | 246 | 270 | 230 | 231.656 | 235
4 | 310 | 223 | 251.96 | 220 | 262.7 | 241 | 268 | 230 | 233.976 | 233
5 | 302 | 224 | 250.25 | 222 | 251.8 | 237 | 267 | 240 | 225.371 | 234
Mean | 308.8 | 225.8 | 260.49 | 223.8 | 251.74 | 240.6 | 272.4 | 236 | 231.4106 | 235.2
Median | 310 | 224 | 253.55 | 224 | 251.8 | 240 | 270 | 240 | 232.0989 | 234
Std.Dev. | 4.2071 | 3.8987 | 11.8329 | 2.8636 | 7.2438 | 3.3615 | 5.6833 | 5.4772 | 3.5372 | 2.7749
Rel.Std.Dev. | 1.362% | 1.727% | 4.543% | 1.28% | 2.878% | 1.397% | 2.086% | 2.321% | 1.529% | 1.18%
PDM3 | 27.79% | -6.561% | 7.794% | -7.388% | 4.174% | -0.4364% | 12.72% | -2.34% | -4.239% | -2.671%

## Cu
Table A5. Results for Cu in OREAS 142 (abbreviations as in Table A1; values in wt.%).
Replicate | Actlabs | Ultra Trace | Genalysis | SGS | Acme | ALS | ALS | SGS | OMAC | ITS
No. | Ancaster | Perth | Perth | Perth | Vancouver | Brisbane | Vancouver | Lakefield | Loughrea | Jakarta
| 4A*MS | 4A*MS | 4A*AAS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*OES
1 | 1460 | 1440 | 1479 | 1200 | 1488.4 | 1400 | 1610 | 1500 | 1450.5907 | 1440
2 | 1530 | 1460 | 1334 | 1140 | 1454.9 | 1410 | 1640 | 1500 | 1457.7836 | 1440
3 | 1510 | 1460 | 1440 | 1140 | 1437.3 | 1420 | 1550 | 1500 | 1460.9415 | 1430
4 | 1510 | 1440 | 1316 | 1170 | 1446.9 | 1410 | 1590 | 1500 | 1477.3466 | 1470
5 | 1490 | 1510 | 1328 | 1170 | 1426 | 1390 | 1540 | 1500 | 1476.0983 | 1490
Mean | 1500 | 1462 | 1379.4 | 1164 | 1450.7 | 1406 | 1586 | 1500 | 1464.5521 | 1454
Median | 1510 | 1460 | 1334 | 1170 | 1446.9 | 1410 | 1590 | 1500 | 1460.9415 | 1440
Std.Dev. | 26.4575 | 28.6356 | 74.6914 | 25.0998 | 23.6803 | 11.4018 | 41.5933 | 0 | 11.7344 | 25.0998
Rel.Std.Dev. | 1.764% | 1.959% | 5.415% | 2.156% | 1.632% | 0.8109% | 2.623% | 0% | 0.8012% | 1.726%
PDM3 | 2.325% | -0.267% | -5.902% | -20.6% | -1.038% | -4.087% | 8.192% | 2.325% | -0.09291% | -0.8127%

## In
Table A6. Results for In in OREAS 142 (abbreviations as in Table A1; values in wt.%).
Replicate | Actlabs | Ultra Trace | Genalysis | SGS | Acme | ALS | ALS | SGS | OMAC | ITS
No. | Ancaster | Perth | Perth | Perth | Vancouver | Brisbane | Vancouver | Lakefield | Loughrea | Jakarta
| 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | -
1 | 47.1 | 39.3 | 60.71 | 47.4 | 27.1191 | 41.5 | 46.1 | 37 | NR | NR
2 | 49.2 | 39.5 | 54.77 | 47.4 | 23.632 | 41 | 46.2 | 38 | NR | NR
3 | 48.2 | 40.5 | 61.52 | 46.5 | 25.9359 | 42 | 44.1 | 37 | NR | NR
4 | 47.6 | 39.6 | 54.48 | 46.6 | 29.1218 | 42.1 | 44.6 | 37 | NR | NR
5 | 47.3 | 41.8 | 54.37 | 46.7 | 29.9549 | 41.8 | 44.2 | 38 | NR | NR
Mean | 47.88 | 40.14 | 57.17 | 46.92 | 27.1527 | 41.68 | 45.04 | 37.4
Median | 47.6 | 39.6 | 54.77 | 46.7 | 27.1191 | 41.8 | 44.6 | 37
Std.Dev. | 0.84676 | 1.0359 | 3.6156 | 0.44385 | 2.5301 | 0.44385 | 1.031 | 0.54772
Rel.Std.Dev. | 1.769% | 2.581% | 6.324% | 0.946% | 9.318% | 1.065% | 2.289% | 1.464%
PDM3 | 7.017% | -10.28% | 27.78% | 4.871% | -39.31% | -6.841% | 0.6689% | -16.41%

## Mo
Table A7. Results for Mo in OREAS 142 (abbreviations as in Table A1; values in wt.%).
Replicate | Actlabs | Ultra Trace | Genalysis | SGS | Acme | ALS | ALS | SGS | OMAC | ITS
No. | Ancaster | Perth | Perth | Perth | Vancouver | Brisbane | Vancouver | Lakefield | Loughrea | Jakarta
| 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*OES
1 | 2.7 | 3 | 3 | 3.4 | 2.8 | 2.95 | 3.25 | 3 | 2.8813 | <1
2 | 2.8 | 3 | 2.7 | 3.2 | 2.7 | 2.91 | 3.15 | 2.9 | 3.0138 | <1
3 | 2.8 | 3.5 | 3.4 | 3.3 | 2.8 | 2.96 | 2.96 | 3.1 | 2.9419 | <1
4 | 2.8 | 3 | 2.9 | 3.2 | 2.9 | 2.95 | 2.98 | 3.2 | 2.8543 | <1
5 | 2.6 | 2.5 | 3.2 | 3.1 | 2.6 | 2.92 | 3.02 | 2.9 | 2.8903 | <1
Mean | 2.74 | 3 | 3.04 | 3.24 | 2.76 | 2.938 | 3.072 | 3.02 | 2.9163 | #DIV/0!
Median | 2.8 | 3 | 3 | 3.2 | 2.8 | 2.95 | 3.02 | 3 | 2.8903 | #NUM!
Std.Dev. | 0.089443 | 0.35355 | 0.27019 | 0.11402 | 0.11402 | 0.021679 | 0.12398 | 0.13038 | 0.063053 | #DIV/0!
Rel.Std.Dev. | 3.264% | 11.79% | 8.888% | 3.519% | 4.131% | 0.7379% | 4.036% | 4.317% | 2.162% | #DIV/0!
PDM3 | -8.37% | 0.3243% | 1.662% | 8.35% | -7.702% | -1.749% | 2.732% | 0.9931% | -2.474%

## Pb
Table A8. Results for Pb in OREAS 142 (abbreviations as in Table A1; values in wt.%).
Replicate | Actlabs | Ultra Trace | Genalysis | SGS | Acme | ALS | ALS | SGS | OMAC | ITS
No. | Ancaster | Perth | Perth | Perth | Vancouver | Brisbane | Vancouver | Lakefield | Loughrea | Jakarta
| 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*OES
1 | 56.9 | 50 | 60 | 61 | 50.3 | 54 | 56.9 | 52 | 48.6103 | 54
2 | 59 | 50 | 54 | 61 | 51.3 | 52.9 | 56.4 | 51 | 48.778 | 59
3 | 59.4 | 51 | 60 | 59 | 51.5 | 54.7 | 53.2 | 52 | 49.8591 | 57
4 | 59.5 | 49 | 54 | 59 | 53 | 55 | 54.4 | 51 | 49.8334 | 56
5 | 57.1 | 49 | 54 | 59 | 50.2 | 53.6 | 54.5 | 52 | 49.2743 | 59
Mean | 58.38 | 49.8 | 56.4 | 59.8 | 51.26 | 54.04 | 55.08 | 51.6 | 49.271 | 57
Median | 59 | 50 | 54 | 59 | 51.3 | 54 | 54.5 | 52 | 49.2743 | 57
Std.Dev. | 1.2755 | 0.83666 | 3.2863 | 1.0954 | 1.1327 | 0.84439 | 1.532 | 0.54772 | 0.57918 | 2.1213
Rel.Std.Dev. | 2.185% | 1.68% | 5.827% | 1.832% | 2.21% | 1.563% | 2.781% | 1.061% | 1.175% | 3.722%
PDM3 | 7.587% | -8.225% | 3.938% | 10.2% | -5.534% | -0.4112% | 1.505% | -4.908% | -9.2% | 5.044%
0

## Zn
Table A9. Results for Zn in OREAS 142 (abbreviations as in Table A1; values in wt.%).
Replicate | Actlabs | Ultra Trace | Genalysis | SGS | Acme | ALS | ALS | SGS | OMAC | ITS
No. | Ancaster | Perth | Perth | Perth | Vancouver | Brisbane | Vancouver | Lakefield | Loughrea | Jakarta
| 4A*MS | 4A*MS | 4A*AAS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*MS | 4A*OES
1 | 2030 | 2480 | 2510 | 2210 | 2466 | 2370 | 2720 | 2500 | 2497.0571 | 2490
2 | 2090 | 2480 | 2200 | 2100 | 2366 | 2400 | 2750 | 2500 | 2481.9071 | 2450
3 | 2090 | 2480 | 2460 | 2100 | 2446 | 2440 | 2640 | 2500 | 2466.1902 | 2430
4 | 2080 | 2400 | 2220 | 2140 | 2449 | 2440 | 2670 | 2500 | 2451.444 | 2410
5 | 2040 | 2440 | 2230 | 2140 | 2408 | 2390 | 2620 | 2600 | 2426.4041 | 2420
Mean | 2066 | 2456 | 2324 | 2138 | 2427 | 2408 | 2680 | 2520 | 2464.6005 | 2440
Median | 2080 | 2480 | 2230 | 2140 | 2446 | 2400 | 2670 | 2500 | 2466.1902 | 2430
Std.Dev. | 28.8097 | 35.7771 | 148.4251 | 44.9444 | 40.1497 | 31.1448 | 54.3139 | 44.7214 | 27.3292 | 31.6228
Rel.Std.Dev. | 1.394% | 1.457% | 6.387% | 2.102% | 1.654% | 1.293% | 2.027% | 1.775% | 1.109% | 1.296%
PDM3 | -15.2% | 0.8042% | -4.614% | -12.25% | -0.3861% | -1.166% | 9.998% | 3.431% | 1.157% | 0.1475%

## Sn (fusion)
Table A10. Fusion results for Sn in OREAS 142 (abbreviations as in Table A1; values in wt.%).
Replicate | Actlabs | Ultra Trace | Genalysis | SGS | Acme | ALS | ALS | SGS | OMAC | ITS
No. | Ancaster | Perth | Perth | Perth | Vancouver | Brisbane | Vancouver | Lakefield | Loughrea | Jakarta
| PF*OES | PF*MS | PF*MS | BF*XRF | PF*OES | PF*OES | PF*AAS | PF*OES | IF*AA/ICP | -
1 | 1.09 | 1.03 | 0.9822 | 1.04 | 1.06 | 1.08 | 0.97 | 1.1 | 1.0052 | NR
2 | 1.08 | 1.02 | 0.9805 | 1.04 | 1.08 | 1.06 | 1.02 | 1.1 | 1.0002 | NR
3 | 1.06 | 1.04 | 1.0029 | 1.04 | 1.12 | 1.06 | 0.97 | 1 | 0.99852 | NR
4 | 1.09 | 1.04 | 0.9995 | 1.05 | 1.13 | 1.09 | 0.98 | 1.1 | 0.99693 | NR
5 | 1.09 | 1.03 | 0.9807 | 1.05 | 1.14 | 1.07 | 0.98 | 1 | 0.99773 | NR
Mean | 1.082 | 1.032 | 0.98916 | 1.044 | 1.106 | 1.072 | 0.984 | 1.06 | 0.99973
Median | 1.09 | 1.03 | 0.9822 | 1.04 | 1.12 | 1.07 | 0.98 | 1.1 | 0.99852
Std.Dev. | 0.013038 | 0.0083666 | 0.011076 | 0.0054772 | 0.034351 | 0.013038 | 0.020736 | 0.054772 | 0.0033128
Rel.Std.Dev. | 1.205% | 0.8107% | 1.12% | 0.5246% | 3.106% | 1.216% | 2.107% | 5.167% | 0.3314%
PDM3 | 4.04% | -0.7681% | -4.887% | 0.3858% | 6.347% | 3.078% | -5.384% | 1.924% | -3.871%

## Sn (PPP)
Table A11. PPP results for Sn in OREAS 142 (abbreviations as in Table A1; values in wt.%).
Replicate | Actlabs | Ultra Trace | Genalysis | SGS | Acme | ALS | ALS | SGS | OMAC | ITS
No. | Ancaster | Perth | Perth | Perth | Vancouver | Brisbane | Vancouver | Lakefield | Loughrea | Jakarta
| PPP*XRF | - | PPP*XRF | - | - | PPP*XRF | PPP*XRF | - | - | PPP*XRF
1 | 1.08 | NR | 1.0335 | NR | NR | 1.13 | >1 | NR | NR | 1.07
2 | 1.08 | NR | 1.0332 | NR | NR | 1.13 | >1 | NR | NR | 1.08
3 | 1.09 | NR | 1.0319 | NR | NR | 1.14 | >1 | NR | NR | 1.08
4 | 1.08 | NR | 1.0254 | NR | NR | 1.13 | >1 | NR | NR | 1.08
5 | 1.08 | NR | 1.0257 | NR | NR | 1.15 | >1 | NR | NR | 1.08
Mean | 1.082 | #DIV/0! | 1.0299 | #DIV/0! | #DIV/0! | 1.136 | #DIV/0! | #DIV/0! | #DIV/0! | 1.078
Median | 1.08 | #NUM! | 1.0319 | #NUM! | #NUM! | 1.13 | #NUM! | #NUM! | #NUM! | 1.08
Std.Dev. | 0.0044721 | #DIV/0! | 0.0040538 | #DIV/0! | #DIV/0! | 0.0089443 | #DIV/0! | #DIV/0! | #DIV/0! | 0.0044721
Rel.Std.Dev. | 0.4133% | #DIV/0! | 0.3936% | #DIV/0! | #DIV/0! | 0.7873% | #DIV/0! | #DIV/0! | #DIV/0! | 0.4149%
PDM3 | 0.04762% |  | -4.766% |  |  | 5.041% |  |  |  | -0.3222%