## Abbreviations
Table 1. Abbreviations used for OREAS 78
Abbreviation | Explanation
< | ‘less than’
IND | indeterminate
NR | not reported
PDM3 | percent deviation of lab mean from corrected mean of means
Rel.Std.Dev. | one relative standard deviation
Std.Dev. | one standard deviation
Method Codes:
3A*OES | 3-acid (HNO3-HCIO4-HCI) digest with OES finish
3AC*TITR | concentrate method 3-acid (HNO3-HCl-H2SO4) digest with titration finish
4A*TITR(C) | 4-acid (HF-HNO3-HClO4-HCl) digest with Titration with full corrections finish
ABL*MS | Laser Ablation with Mass Spectrometry: ICP-MS finish
AD*GRAV | acid digest (non-specific) with Gravimetric finish
AD*PTITR | acid digest (non-specific) with Potentiometric titration finish
at 105°C | moisture at 105°C
DMG*GRAV | dimethyl glyoxime precipitation with Gravimetric finish
EDTA*TITR | Ethylenediamminetetraacetic Acid with Titration finish
EG | electrogravimetry
IRC | infrared combustion furnace
LOI*TGA | loss on ignition with Thermal Gravimetric Analyser finish
OxBF*XRF | oxidising lithium borate fusion with X-Ray Fluorescence finish
Legend:- | (for Method Group Tabulated Results omitted in the determination of Certified Values)
Individual | - Outlying individual values
Batch & Limits | - Outlying laboratory batch data sets and superfluous limit values

## Laboratory List
Table 5. Participating Laboratory List used for OREAS 78
Lab Slot | Laboratory Name and Location
AH Knight, Spartanburg, SC, USA
AH Knight, St Helens, Merseyside, UK
ALS, Johannesburg, South Africa
ALS, Vancouver, BC, Canada
ALS Inspection, Prescot, Merseyside, UK
Bachelet, Angleur, Liege, Belgium
Bureau Veritas Geoanalytical, Perth, WA, Australia
Independent, Perth, WA, Australia
Inspectorate (BV), Witham, Essex, UK
Intertek LSI, Rotterdam, Zuid-Holland, Netherlands
Ledoux & Company, Teaneck, New Jersey, USA
SGS Lakefield Research Ltd, Lakefield, Ontario, Canada
SGS Nederland B.V., Spijkenisse, Zuid-Holland, Netherlands
SRL, Perth, WA, Australia

## Certified Values
Table 2. Certified Values, SD's, 95% Confidence and Tolerance Limits for OREAS 78
Constituent | Certified | SD | 95% Confidence Limits |  | 95% Tolerance Limits
| Value |  | Low | High | Low | High
Classical Wet Chemistry
Co, Cobalt (wt.%) | 23.7399 | 0.33768 | 23.5091 | 23.9707 | 23.6208 | 23.859
Ni, Nickel (wt.%) | 25.7881 | 0.26491 | 25.6174 | 25.9589 | 25.6914 | 25.8848
Infrared Combustion
S, Sulphur (wt.%) | 28.6141 | 0.43951 | 28.3324 | 28.8958 | 28.5309 | 28.6973

## Indicative Values
Table 3. Indicative Values for OREAS 78
Constituent | Unit | Value | Constituent | Unit | Value | Constituent | Unit | Value
Thermogravimetry
H2O- | wt.% | 2.3598 | LOI1000 | wt.% | 33.22
Oxidising Fusion XRF
Al2O3 | wt.% | 0.142 | Fe2O3 | wt.% | 0.29523 | SnO2 | ppm | < 13
As | ppm | 30 | K2O | wt.% | < 0.001 | SO3 | wt.% | 72.1191
BaO | ppm | < 11 | MgO | wt.% | < 0.001 | SrO | ppm | < 12
CaO | wt.% | 0.0355 | MnO | wt.% | < 0.001 | TiO2 | wt.% | 0.01
Cl | ppm | < 10 | NiO | wt.% | 32.9705 | V2O5 | ppm | 17.852
CoO | wt.% | 29.9693 | P2O5 | wt.% | 0.016041 | ZnO | ppm | 448.128
Cr2O3 | ppm | < 15 | PbO | ppm | 70.018 | ZrO2 | ppm | < 14
CuO | wt.% | 2.6557 | SiO2 | wt.% | 0.5245
Laser Ablation ICP-MS
Ag | ppm | 2.25 | Ge | ppm | 1.325 | Sm | ppm | 0.585
As | ppm | 27.4 | Hf | ppb | 60 | Sn | ppm | 1.1
Ba | ppm | < 0.5 | Ho | ppb | < 10 | Sr | ppm | 1.6
Be | ppm | < 0.2 | In | ppm | < 0.05 | Ta | ppb | < 10
Bi | ppm | 0.57 | La | ppm | 3.745 | Tb | ppb | 20
Cd | ppm | 10.45 | Lu | ppb | < 10 | Te | ppb | < 200
Ce | ppm | 5.66 | Mo | ppm | 2.2 | Th | ppm | 0.135
Co | wt.% | 23.9 | Nb | ppm | 0.745 | Tl | ppm | 0.4
Cr | ppm | 2 | Nd | ppm | 2.865 | Tm | ppb | < 10
Cs | ppm | 0.195 | Pb | wt.% | 0.0066 | U | ppm | 0.15
Cu | wt.% | 2.045 | Pr | ppm | 0.755 | V | ppm | 0.8
Dy | ppm | 0.095 | Rb | ppm | 0.55 | W | ppm | 14.65
Er | ppm | 0.03 | Re | ppb | < 10 | Y | ppm | 0.41
Eu | ppb | 95 | Sb | ppm | 0.2 | Yb | ppb | 20
Ga | ppm | 0.5 | Sc | ppm | < 0.1 | Zn | ppm | 295
Gd | ppm | 0.21 | Se | ppm | 5 | Zr | ppm | 1.25

## Performance Gates
Table 4. Pooled-Lab Performance Gates for OREAS 78
Constituent | Certified Value | Absolute Standard Deviations |  |  |  |  | Relative Standard Deviations |  |  | 5% window
|  | 1SD | 2SD Low | 2SD High | 3SD Low | 3SD High | 1RSD | 2RSD | 3RSD | Low | High
Classical Wet Chemistry
Co, wt.% | 23.7399 | 0.33768 | 23.0645 | 24.4152 | 22.7269 | 24.7529 | 1.422% | 2.845% | 4.267% | 22.5529 | 24.9269
Ni, wt.% | 25.7881 | 0.26491 | 25.2583 | 26.3179 | 24.9934 | 26.5829 | 1.027% | 2.055% | 3.082% | 24.4987 | 27.0775
Infrared Combustion
S, wt.% | 28.6141 | 0.43951 | 27.7351 | 29.4931 | 27.2956 | 29.9326 | 1.536% | 3.072% | 4.608% | 27.1834 | 30.0448

## Classical
| Analytical results for Co in OREAS 78 (Certified Value 23.74 wt.%) | [13 empty] | Certified
Co | Round | Replicate | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab |  | 1
| No | No | 1.01 | 1.02 | 1.03 | 1.05 | 1.06 | 1.07 | 1.09 | 1.10 | 1.11 | 1.12 | 1.13 |  | wt.%
|  |  | EDTA*TITR | EDTA*TITR | 3AC*TITR | EDTA*TITR | EDTA*TITR | EDTA*TITR | 4A*TITR(C) | AD*PTITR | 3AC*TITR | 3A*OES | EDTA*TITR |  | 2
3
| 1 | 1 | 24.04 | 23.54 | 23.1608 | 23.53 | 22.91 | 23.92 | 23.95 | 23.8 | 23.5773 | 24.12 | 23.96 |  | 1
| 1 | 2 | 24.1 | 23.6 | 23.4669 | 23.57 | 23.11 | 23.89 | 24.15 | 23.85 | 23.9081 | 24.25 | 23.96 |  | 19
| 1 | 3 | 24.15 | 23.59 | 23.413 | 23.4 | 23.07 | 23.93 | 24.01 | 23.81 | 23.5023 | 24.12 | 23.83 |  | 16
| 1 | 4 |  |  |  | 23.65 | [8 empty] | 23.7399
| 1 | 5 |  |  |  | 23.73 | [8 empty] | 7
| Mean |  | 24.0967 | 23.5767 | 23.3469 | 23.576 | 23.03 | 23.9133 | 24.0367 | 23.82 | 23.6626 | 24.1633 | 23.9167
| Median |  | 24.1 | 23.59 | 23.413 | 23.57 | 23.07 | 23.92 | 24.01 | 23.81 | 23.5773 | 24.12 | 23.96
| Std Dev. |  | 0.055076 | 0.032146 | 0.16339 | 0.12482 | 0.10583 | 0.020817 | 0.10263 | 0.026458 | 0.21595 | 0.075056 | 0.075056
| Rel.Std.Dev. |  | 0.2286% | 0.1363% | 0.6998% | 0.5294% | 0.4595% | 0.08705% | 0.427% | 0.1111% | 0.9126% | 0.3106% | 0.3138%
| PDM3 |  | 1.503% | -0.6875% | -1.655% | -0.6904% | -2.99% | 0.7306% | 1.25% | 0.3374% | -0.3257% | 1.784% | 0.7446%
| Z-Score (Absolute) |  | 0.77 | 0.67 | 1.31 | 0.68 | 2.19 | 0.26 | 0.6 | 0 | 0.44 | 0.95 | 0.27
| Analytical results for Ni in OREAS 78 (Certified Value 25.79 wt.%) | [13 empty] | Certified
Ni | Round | Replicate | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | 1
| No | No | 1.01 | 1.02 | 1.03 | 1.04 | 1.05 | 1.06 | 1.07 | 1.08 | 1.09 | 1.10 | 1.12 | 1.13 | wt.%
|  |  | DMG*GRAV | DMG*GRAV | DMG*GRAV | DMG*GRAV | AD*GRAV | DMG*GRAV | DMG*GRAV | DMG*GRAV | EG | DMG*GRAV | 3A*OES | DMG*GRAV | 2
3
| 1 | 1 | 25.55 | 26.06 | 25.5891 | 25.8618 | 25.8244 | 26.35 | 26.03 | 25.3 | 25.76 | 25.47 | 25.62 | 26 | 1
| 1 | 2 | 25.58 | 25.83 | 25.5789 | 25.8455 | 25.7786 | 26.38 | 25.93 | 25.25 | 25.84 | 25.46 | 26 | 25.9 | #N/A
| 1 | 3 | 25.67 | 25.82 | 25.6213 | 25.8189 | 25.8132 | 26.32 | 25.84 | 25.36 | 26 | 25.57 | 25.7 | 26.1 | 16
| 1 | 4 |  |  |  |  | 25.7559 | [7 empty] | 25.7881
| 1 | 5 |  |  |  |  | 25.7719 | [7 empty] | 8
| Mean |  | 25.6 | 25.9033 | 25.5965 | 25.8421 | 25.7888 | 26.35 | 25.9333 | 25.3033 | 25.8667 | 25.5 | 25.7733 | 26
| Median |  | 25.58 | 25.83 | 25.5891 | 25.8455 | 25.7786 | 26.35 | 25.93 | 25.3 | 25.84 | 25.47 | 25.7 | 26
| Std Dev. |  | 0.06245 | 0.13577 | 0.022143 | 0.021656 | 0.028893 | 0.03 | 0.095044 | 0.055076 | 0.1222 | 0.060828 | 0.20033 | 0.1
| Rel.Std.Dev. |  | 0.2439% | 0.5241% | 0.08651% | 0.0838% | 0.112% | 0.1139% | 0.3665% | 0.2177% | 0.4724% | 0.2385% | 0.7773% | 0.3846%
| PDM3 |  | -0.7295% | 0.4468% | -0.7432% | 0.2093% | 0.00265% | 2.179% | 0.5631% | -1.88% | 0.3046% | -1.117% | -0.05731% | 0.8216%
| Z-Score (Absolute) |  | 0.96 | 0.39 | 0.98 | 0.12 | 0.12 | 2.38 | 0.53 | 2.28 | 0.23 | 1.41 | 0.19 | 0.82
Note on C16: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C33: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.

## IRC
| Analytical results for S in OREAS 78 (Certified Value 28.61 wt.%) | [13 empty] | Certified
S | Round | Replicate | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | 1
| No | No | 1.01 | 1.02 | 1.03 | 1.04 | 1.05 | 1.06 | 1.07 | 1.09 | 1.10 | 1.11 | 1.12 | 1.13 | wt.%
|  |  | IRC | AD*GRAV | IRC | AD*GRAV | AD*GRAV | IRC | AD*GRAV | IRC | AD*GRAV | IRC | IRC | IRC | 2
3
| 1 | 1 | 28.35 | 28.66 | 29.0785 | 28.7281 | 28.7986 | 29.17 | 28.14 | 28.2 | 29.29 | 28.1902 | 28.1 | 28.65 | 1
| 1 | 2 | 28.36 | 28.6 | 29.4867 | 28.7676 | 28.7517 | 29.15 | 28.15 | 28.1 | 29.15 | 28.2177 | 27.9 | 28.57 | #N/A
| 1 | 3 | 28.35 | 28.69 | 29.2406 | 28.8482 | 28.6958 | 29.17 | 28.15 | 28.1 | 29.24 | 28.6338 | 27.9 | 28.53 | 16
| Mean |  | 28.3533 | 28.65 | 29.2686 | 28.7813 | 28.7487 | 29.1633 | 28.1467 | 28.1333 | 29.2267 | 28.3473 | 27.9667 | 28.5833 | 28.6141
| Median |  | 28.35 | 28.66 | 29.2406 | 28.7676 | 28.7517 | 29.17 | 28.15 | 28.1 | 29.24 | 28.2177 | 27.9 | 28.57 | 10
| Std Dev. |  | 0.0057735 | 0.045826 | 0.20549 | 0.061239 | 0.051466 | 0.011547 | 0.0057735 | 0.057735 | 0.070946 | 0.24851 | 0.11547 | 0.061101
| Rel.Std.Dev. |  | 0.02036% | 0.16% | 0.7021% | 0.2128% | 0.179% | 0.03959% | 0.02051% | 0.2052% | 0.2427% | 0.8767% | 0.4129% | 0.2138%
| PDM3 |  | -0.9113% | 0.1255% | 2.287% | 0.5844% | 0.4704% | 1.919% | -1.634% | -1.68% | 2.141% | -0.9326% | -2.263% | -0.1075%
| Z-Score (Absolute) |  | 0.48 | 0.06 | 1.19 | 0.3 | 0.24 | 1 | 0.86 | 0.88 | 1.11 | 0.49 | 1.19 | 0.06
Note on C14: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.

## Thermograv
| Analytical results for H2O- in OREAS 78 (Indicative Value 2.36 wt.%) | [14 empty] | Indicative
H2O- | Round | Replicate | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | 1
| No | No | 1.01 | 1.02 | 1.03 | 1.04 | 1.05 | 1.06 | 1.07 | 1.08 | 1.09 | 1.10 | 1.11 | 1.12 | 1.13 | wt.%
|  |  | at 105°C | at 105°C | at 105°C | at 105°C | at 105°C | at 105°C | at 105°C | at 105°C | at 105°C | at 105°C | at 105°C | at 105°C | at 105°C | 2
2
| 1 | 1 | 3.23 | 1.76 | 2.03 | 2.86 | 2.88 | 2.04 | 2.51 | 2.87 | 1.87 | 1.08 | 2.51 | 1.93 | 2.92 | 1
| 1 | 2 | 3.29 | 1.81 | 2.03 | 2.69 |  | 2.01 | 2.57 | 2.87 | 1.84 | 1.08 | 2.61 | 1.93 | 2.83 | 1
| 1 | 3 | 3.2 | 1.8 | 2.24 | 2.81 |  |  | 2.57 |  | 1.84 | 1.52 | 2.63 | 1.93 | 2.874 | 16
| 1 | 4 |  |  |  | 2.67 | [9 empty] | 2.3598
| Mean |  | 3.24 | 1.79 | 2.1 | 2.7575 | 2.88 | 2.025 | 2.55 | 2.87 | 1.85 | 1.2267 | 2.5833 | 1.93 | 2.8747 | 7
| Median |  | 3.23 | 1.8 | 2.03 | 2.75 | 2.88 | 2.025 | 2.57 | 2.87 | 1.84 | 1.08 | 2.61 | 1.93 | 2.874
| Std Dev. |  | 0.045826 | 0.026458 | 0.12124 | 0.09215 |  | 0.021213 | 0.034641 | 0 | 0.017321 | 0.25403 | 0.064291 | 0 | 0.045004
| Rel.Std.Dev. |  | 1.414% | 1.478% | 5.774% | 3.342% |  | 1.048% | 1.358% | 0% | 0.9362% | 20.71% | 2.489% | 0% | 1.566%
| PDM3 |  | 37.3% | -24.15% | -11.01% | 16.85% | 22.05% | -14.19% | 8.061% | 21.62% | -21.6% | -48.02% | 9.473% | -18.21% | 21.82%
| Z-Score (Absolute) |  | 1.03 | 1.14 | 0.67 | 0.31 | 0.49 | 0.79 | 0 | 0.48 | 1.05 | 1.98 | 0.05 | 0.93 | 0.49
| Analytical results for LOI1000 in OREAS 78 (Indicative Value 33.22 wt.%) | [14 empty] | Indicative
LOI1000 | Round | Replicate | BV Geo | [12 empty] | 1
| No | No | Perth | [12 empty] | wt.%
|  |  | LOI*TGA | [12 empty] | 2
2
| 1 | 1 | 33.18 | [12 empty] | 1
| 1 | 2 | 33.26 | [12 empty] | 1
| Mean |  | 33.22 | [12 empty] | 16
| Median |  | 33.22 | [12 empty] | 33.22
| Std Dev. |  | 0.056569 | [12 empty] | 7
| Rel.Std.Dev. |  | 0.1703%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
Note on C15: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C29: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.

## OxFusion XRF
| Analytical results for Al2O3 in OREAS 78 (Indicative Value 0.142 wt.%) |  |  | Indicative
Al2O3 | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 3
3
| 1 | 1 | 0.139 | 1
| 1 | 2 | 0.145 | 3
| Mean |  | 0.142 | 16
| Median |  | 0.142 | 0.142
| Std Dev. |  | 0.0042426 | 9
| Rel.Std.Dev. |  | 2.988%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for As in OREAS 78 (Indicative Value 30 ppm) |  |  | Indicative
As | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | OxBF*XRF | 1
1
| 1 | 1 | 30 | 1
| 1 | 2 | 30 | 4
| Mean |  | 30 | 16
| Median |  | 30 | 30
| Std Dev. |  | 0 | 10
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for BaO in OREAS 78 (Indicative Value < 11 ppm) |  |  | Indicative
BaO | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | OxBF*XRF | 1
1
| 1 | 1 | < 11 | 1
| 1 | 2 | < 11 | 5
| Mean |  |  | 16
| Median |  |  | < 11
| Std Dev. |  |  | 11
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for CaO in OREAS 78 (Indicative Value 0.036 wt.%) |  |  | Indicative
CaO | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 3
3
| 1 | 1 | 0.035 | 1
| 1 | 2 | 0.036 | 6
| Mean |  | 0.0355 | 16
| Median |  | 0.0355 | 0.0355
| Std Dev. |  | 0.00070711 | 12
| Rel.Std.Dev. |  | 1.992%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Cl in OREAS 78 (Indicative Value < 10 ppm) |  |  | Indicative
Cl | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | OxBF*XRF | 1
1
| 1 | 1 | < 10 | 1
| 1 | 2 | < 10 | 7
| Mean |  |  | 16
| Median |  |  | < 10
| Std Dev. |  |  | 13
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for CoO in OREAS 78 (Indicative Value 29.97 wt.%) |  |  | Indicative
CoO | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 2
2
| 1 | 1 | 30.0964 | 1
| 1 | 2 | 29.8421 | 8
| Mean |  | 29.9693 | 16
| Median |  | 29.9693 | 29.9693
| Std Dev. |  | 0.17982 | 14
| Rel.Std.Dev. |  | 0.6%
| PDM3 |  | -1.668e-05%
| Z-Score (Absolute) |  | NA
| Analytical results for Cr2O3 in OREAS 78 (Indicative Value < 15 ppm) |  |  | Indicative
Cr2O3 | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | OxBF*XRF | 1
1
| 1 | 1 | < 15 | 1
| 1 | 2 | < 15 | 9
| Mean |  |  | 16
| Median |  |  | < 15
| Std Dev. |  |  | 15
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for CuO in OREAS 78 (Indicative Value 2.66 wt.%) |  |  | Indicative
CuO | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 2
2
| 1 | 1 | 2.6576 | 1
| 1 | 2 | 2.6538 | 10
| Mean |  | 2.6557 | 16
| Median |  | 2.6557 | 2.6557
| Std Dev. |  | 0.002687 | 16
| Rel.Std.Dev. |  | 0.1012%
| PDM3 |  | 0.0002372%
| Z-Score (Absolute) |  | NA
| Analytical results for Fe2O3 in OREAS 78 (Indicative Value 0.295 wt.%) |  |  | Indicative
Fe2O3 | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 3
3
| 1 | 1 | 0.2945 | 1
| 1 | 2 | 0.2959 | 3
| Mean |  | 0.2952 | 16
| Median |  | 0.2952 | 0.29523
| Std Dev. |  | 0.00098995 | 9
| Rel.Std.Dev. |  | 0.3353%
| PDM3 |  | -0.01119%
| Z-Score (Absolute) |  | NA
| Analytical results for K2O in OREAS 78 (Indicative Value < 0.001 wt.%) |  |  | Indicative
K2O | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 3
3
| 1 | 1 | < 0.001 | 1
| 1 | 2 | < 0.001 | 4
| Mean |  |  | 16
| Median |  |  | < 0.001
| Std Dev. |  |  | 10
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for MgO in OREAS 78 (Indicative Value < 0.001 wt.%) |  |  | Indicative
MgO | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 3
3
| 1 | 1 | < 0.001 | 1
| 1 | 2 | < 0.001 | 5
| Mean |  |  | 16
| Median |  |  | < 0.001
| Std Dev. |  |  | 11
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for MnO in OREAS 78 (Indicative Value < 0.001 wt.%) |  |  | Indicative
MnO | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 3
3
| 1 | 1 | < 0.001 | 1
| 1 | 2 | < 0.001 | 6
| Mean |  |  | 16
| Median |  |  | < 0.001
| Std Dev. |  |  | 12
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for NiO in OREAS 78 (Indicative Value 32.97 wt.%) |  |  | Indicative
NiO | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 2
2
| 1 | 1 | 33.0723 | 1
| 1 | 2 | 32.8687 | 7
| Mean |  | 32.9705 | 16
| Median |  | 32.9705 | 32.9705
| Std Dev. |  | 0.14397 | 13
| Rel.Std.Dev. |  | 0.4367%
| PDM3 |  | 7.583e-05%
| Z-Score (Absolute) |  | NA
| Analytical results for P2O5 in OREAS 78 (Indicative Value 0.016 wt.%) |  |  | Indicative
P2O5 | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 3
3
| 1 | 1 | 0.016 | 1
| 1 | 2 | 0.016 | 8
| Mean |  | 0.016 | 16
| Median |  | 0.016 | 0.016041
| Std Dev. |  | 0 | 14
| Rel.Std.Dev. |  | 0%
| PDM3 |  | -0.2568%
| Z-Score (Absolute) |  | NA
| Analytical results for PbO in OREAS 78 (Indicative Value 70 ppm) |  |  | Indicative
PbO | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | OxBF*XRF | 0
0
| 1 | 1 | 65 | 1
| 1 | 2 | 75 | 9
| Mean |  | 70 | 16
| Median |  | 70 | 70.018
| Std Dev. |  | 7.0711 | 15
| Rel.Std.Dev. |  | 10.1%
| PDM3 |  | -0.02571%
| Z-Score (Absolute) |  | NA
| Analytical results for SiO2 in OREAS 78 (Indicative Value 0.525 wt.%) |  |  | Indicative
SiO2 | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 3
3
| 1 | 1 | 0.528 | 1
| 1 | 2 | 0.521 | 10
| Mean |  | 0.5245 | 16
| Median |  | 0.5245 | 0.5245
| Std Dev. |  | 0.0049497 | 16
| Rel.Std.Dev. |  | 0.9437%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for SnO2 in OREAS 78 (Indicative Value < 13 ppm) |  |  | Indicative
SnO2 | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | OxBF*XRF | 1
1
| 1 | 1 | < 13 | 1
| 1 | 2 | < 13 | 3
| Mean |  |  | 16
| Median |  |  | < 13
| Std Dev. |  |  | 9
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for SO3 in OREAS 78 (Indicative Value 72.12 wt.%) |  |  | Indicative
SO3 | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 2
2
| 1 | 1 | 72.219 | 1
| 1 | 2 | 72.019 | 4
| Mean |  | 72.119 | 16
| Median |  | 72.119 | 72.1191
| Std Dev. |  | 0.14142 | 10
| Rel.Std.Dev. |  | 0.1961%
| PDM3 |  | -0.0001886%
| Z-Score (Absolute) |  | NA
| Analytical results for SrO in OREAS 78 (Indicative Value < 12 ppm) |  |  | Indicative
SrO | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | OxBF*XRF | 1
1
| 1 | 1 | < 12 | 1
| 1 | 2 | < 12 | 5
| Mean |  |  | 16
| Median |  |  | < 12
| Std Dev. |  |  | 11
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for TiO2 in OREAS 78 (Indicative Value 0.01 wt.%) |  |  | Indicative
TiO2 | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | OxBF*XRF | 3
3
| 1 | 1 | 0.01 | 1
| 1 | 2 | 0.01 | 6
| Mean |  | 0.01 | 16
| Median |  | 0.01 | 0.01
| Std Dev. |  | 0 | 12
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for V2O5 in OREAS 78 (Indicative Value 17.9 ppm) |  |  | Indicative
V2O5 | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | OxBF*XRF | 1
1
| 1 | 1 | 18 | 1
| 1 | 2 | 18 | 7
| Mean |  | 18 | 16
| Median |  | 18 | 17.852
| Std Dev. |  | 0 | 13
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0.829%
| Z-Score (Absolute) |  | NA
| Analytical results for ZnO in OREAS 78 (Indicative Value 448 ppm) |  |  | Indicative
ZnO | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | OxBF*XRF | 0
0
| 1 | 1 | 448 | 1
| 1 | 2 | 448 | 8
| Mean |  | 448 | 16
| Median |  | 448 | 448.128
| Std Dev. |  | 0 | 14
| Rel.Std.Dev. |  | 0%
| PDM3 |  | -0.02856%
| Z-Score (Absolute) |  | NA
| Analytical results for ZrO2 in OREAS 78 (Indicative Value < 14 ppm) |  |  | Indicative
ZrO2 | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | OxBF*XRF | 1
1
| 1 | 1 | < 14 | 1
| 1 | 2 | < 14 | 9
| Mean |  |  | 16
| Median |  |  | < 14
| Std Dev. |  |  | 15
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
Note on C13: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C27: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C41: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C55: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C69: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C83: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C97: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C111: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C125: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C139: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C153: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C167: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C181: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C195: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C209: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C223: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C237: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C251: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C265: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C279: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C293: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C307: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C321: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.

## Laser Ablation
| Analytical results for Ag in OREAS 78 (Indicative Value 2.25 ppm) |  |  | Indicative
Ag | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 2.3 | 1
| 1 | 2 | 2.2 | 12
| Mean |  | 2.25 | 16
| Median |  | 2.25 | 2.25
| Std Dev. |  | 0.070711 | 18
| Rel.Std.Dev. |  | 3.143%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for As in OREAS 78 (Indicative Value 27.4 ppm) |  |  | Indicative
As | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 26 | 1
| 1 | 2 | 28.8 | 4
| Mean |  | 27.4 | 16
| Median |  | 27.4 | 27.4
| Std Dev. |  | 1.9799 | 19
| Rel.Std.Dev. |  | 7.226%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ba in OREAS 78 (Indicative Value < 0.5 ppm) |  |  | Indicative
Ba | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | < 0.5 | 1
| 1 | 2 | < 0.5 | 14
| Mean |  |  | 16
| Median |  |  | < 0.5
| Std Dev. |  |  | 20
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for Be in OREAS 78 (Indicative Value < 0.2 ppm) |  |  | Indicative
Be | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | < 0.2 | 1
| 1 | 2 | < 0.2 | 15
| Mean |  |  | 16
| Median |  |  | < 0.2
| Std Dev. |  |  | 21
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for Bi in OREAS 78 (Indicative Value 0.57 ppm) |  |  | Indicative
Bi | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.54 | 1
| 1 | 2 | 0.6 | 16
| Mean |  | 0.57 | 16
| Median |  | 0.57 | 0.57
| Std Dev. |  | 0.042426 | 22
| Rel.Std.Dev. |  | 7.443%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Cd in OREAS 78 (Indicative Value 10.5 ppm) |  |  | Indicative
Cd | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 10.8 | 1
| 1 | 2 | 10.1 | 17
| Mean |  | 10.45 | 16
| Median |  | 10.45 | 10.45
| Std Dev. |  | 0.49497 | 23
| Rel.Std.Dev. |  | 4.737%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ce in OREAS 78 (Indicative Value 5.66 ppm) |  |  | Indicative
Ce | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 5.58 | 1
| 1 | 2 | 5.74 | 18
| Mean |  | 5.66 | 16
| Median |  | 5.66 | 5.66
| Std Dev. |  | 0.11314 | 24
| Rel.Std.Dev. |  | 1.999%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Co in OREAS 78 (Indicative Value 23.9 wt.%) |  |  | Indicative
Co | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | ABL*MS | 2
2
| 1 | 1 | 23.9 | 1
| 1 | 2 | 23.9 | 19
| Mean |  | 23.9 | 16
| Median |  | 23.9 | 23.9
| Std Dev. |  | 0 | 25
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Cr in OREAS 78 (Indicative Value 2 ppm) |  |  | Indicative
Cr | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 2 | 1
| 1 | 2 | 2 | 20
| Mean |  | 2 | 16
| Median |  | 2 | 2
| Std Dev. |  | 0 | 26
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Cs in OREAS 78 (Indicative Value 0.2 ppm) |  |  | Indicative
Cs | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.19 | 1
| 1 | 2 | 0.2 | 21
| Mean |  | 0.195 | 16
| Median |  | 0.195 | 0.195
| Std Dev. |  | 0.0070711 | 27
| Rel.Std.Dev. |  | 3.626%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Cu in OREAS 78 (Indicative Value 2.05 wt.%) |  |  | Indicative
Cu | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | ABL*MS | 2
2
| 1 | 1 | 2.07 | 1
| 1 | 2 | 2.02 | 22
| Mean |  | 2.045 | 16
| Median |  | 2.045 | 2.045
| Std Dev. |  | 0.035355 | 28
| Rel.Std.Dev. |  | 1.729%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Dy in OREAS 78 (Indicative Value 0.095 ppm) |  |  | Indicative
Dy | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 3
3
| 1 | 1 | 0.1 | 1
| 1 | 2 | 0.09 | 23
| Mean |  | 0.095 | 16
| Median |  | 0.095 | 0.095
| Std Dev. |  | 0.0070711 | 29
| Rel.Std.Dev. |  | 7.443%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Er in OREAS 78 (Indicative Value 0.03 ppm) |  |  | Indicative
Er | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 3
3
| 1 | 1 | 0.03 | 1
| 1 | 2 | < 0.01 | 24
| Mean |  | 0.03 | 16
| Median |  | 0.03 | 0.03
| Std Dev. |  |  | 30
Rel.Std.Dev.
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Eu in OREAS 78 (Indicative Value 95 ppb) |  |  | Indicative
Eu | Round | Replicate | BV Geo | 1
| No | No | Perth | ppb
|  |  | ABL*MS | 1
1
| 1 | 1 | 110 | 1
| 1 | 2 | 80 | 25
| Mean |  | 95 | 16
| Median |  | 95 | 95
| Std Dev. |  | 21.2132 | 31
| Rel.Std.Dev. |  | 22.33%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ga in OREAS 78 (Indicative Value 0.5 ppm) |  |  | Indicative
Ga | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.5 | 1
| 1 | 2 | 0.5 | 26
| Mean |  | 0.5 | 16
| Median |  | 0.5 | 0.5
| Std Dev. |  | 0 | 32
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Gd in OREAS 78 (Indicative Value 0.21 ppm) |  |  | Indicative
Gd | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.24 | 1
| 1 | 2 | 0.18 | 27
| Mean |  | 0.21 | 16
| Median |  | 0.21 | 0.21
| Std Dev. |  | 0.042426 | 33
| Rel.Std.Dev. |  | 20.2%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ge in OREAS 78 (Indicative Value 1.33 ppm) |  |  | Indicative
Ge | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 1.4 | 1
| 1 | 2 | 1.25 | 12
| Mean |  | 1.325 | 16
| Median |  | 1.325 | 1.325
| Std Dev. |  | 0.10607 | 18
| Rel.Std.Dev. |  | 8.005%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Hf in OREAS 78 (Indicative Value 60 ppb) |  |  | Indicative
Hf | Round | Replicate | BV Geo | 1
| No | No | Perth | ppb
|  |  | ABL*MS | 1
1
| 1 | 1 | 60 | 1
| 1 | 2 | 60 | 13
| Mean |  | 60 | 16
| Median |  | 60 | 60
| Std Dev. |  | 0 | 19
| Rel.Std.Dev. |  | 0%
| PDM3 |  | -1.11e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Ho in OREAS 78 (Indicative Value < 10 ppb) |  |  | Indicative
Ho | Round | Replicate | BV Geo | 1
| No | No | Perth | ppb
|  |  | ABL*MS | 1
1
| 1 | 1 | < 10 | 1
| 1 | 2 | < 10 | 14
| Mean |  |  | 16
| Median |  |  | < 10
| Std Dev. |  |  | 20
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for In in OREAS 78 (Indicative Value < 0.05 ppm) |  |  | Indicative
In | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 3
3
| 1 | 1 | < 0.05 | 1
| 1 | 2 | < 0.05 | 15
| Mean |  |  | 16
| Median |  |  | < 0.05
| Std Dev. |  |  | 21
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for La in OREAS 78 (Indicative Value 3.75 ppm) |  |  | Indicative
La | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 3.87 | 1
| 1 | 2 | 3.62 | 16
| Mean |  | 3.745 | 16
| Median |  | 3.745 | 3.745
| Std Dev. |  | 0.17678 | 22
| Rel.Std.Dev. |  | 4.72%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Lu in OREAS 78 (Indicative Value < 10 ppb) |  |  | Indicative
Lu | Round | Replicate | BV Geo | 1
| No | No | Perth | ppb
|  |  | ABL*MS | 1
1
| 1 | 1 | < 10 | 1
| 1 | 2 | < 10 | 17
| Mean |  |  | 16
| Median |  |  | < 10
| Std Dev. |  |  | 23
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for Mo in OREAS 78 (Indicative Value 2.2 ppm) |  |  | Indicative
Mo | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 2.2 | 1
| 1 | 2 | 2.2 | 18
| Mean |  | 2.2 | 16
| Median |  | 2.2 | 2.2
| Std Dev. |  | 0 | 24
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Nb in OREAS 78 (Indicative Value 0.75 ppm) |  |  | Indicative
Nb | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.77 | 1
| 1 | 2 | 0.72 | 19
| Mean |  | 0.745 | 16
| Median |  | 0.745 | 0.745
| Std Dev. |  | 0.035355 | 25
| Rel.Std.Dev. |  | 4.746%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Nd in OREAS 78 (Indicative Value 2.87 ppm) |  |  | Indicative
Nd | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 2.98 | 1
| 1 | 2 | 2.75 | 20
| Mean |  | 2.865 | 16
| Median |  | 2.865 | 2.865
| Std Dev. |  | 0.16263 | 26
| Rel.Std.Dev. |  | 5.677%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Pb in OREAS 78 (Indicative Value 0.007 wt.%) |  |  | Indicative
Pb | Round | Replicate | BV Geo | 1
| No | No | Perth | wt.%
|  |  | ABL*MS | 3
3
| 1 | 1 | 0.0064 | 1
| 1 | 2 | 0.0068 | 21
| Mean |  | 0.0066 | 16
| Median |  | 0.0066 | 0.0066
| Std Dev. |  | 0.00028284 | 27
| Rel.Std.Dev. |  | 4.285%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Pr in OREAS 78 (Indicative Value 0.76 ppm) |  |  | Indicative
Pr | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.78 | 1
| 1 | 2 | 0.73 | 22
| Mean |  | 0.755 | 16
| Median |  | 0.755 | 0.755
| Std Dev. |  | 0.035355 | 28
| Rel.Std.Dev. |  | 4.683%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Rb in OREAS 78 (Indicative Value 0.55 ppm) |  |  | Indicative
Rb | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.5 | 1
| 1 | 2 | 0.6 | 23
| Mean |  | 0.55 | 16
| Median |  | 0.55 | 0.55
| Std Dev. |  | 0.070711 | 29
| Rel.Std.Dev. |  | 12.86%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Re in OREAS 78 (Indicative Value < 10 ppb) |  |  | Indicative
Re | Round | Replicate | BV Geo | 1
| No | No | Perth | ppb
|  |  | ABL*MS | 1
1
| 1 | 1 | < 10 | 1
| 1 | 2 | < 10 | 24
| Mean |  |  | 16
| Median |  |  | < 10
| Std Dev. |  |  | 30
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for Sb in OREAS 78 (Indicative Value 0.2 ppm) |  |  | Indicative
Sb | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.2 | 1
| 1 | 2 | < 0.1 | 25
| Mean |  | 0.2 | 16
| Median |  | 0.2 | 0.2
| Std Dev. |  |  | 31
Rel.Std.Dev.
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Sc in OREAS 78 (Indicative Value < 0.1 ppm) |  |  | Indicative
Sc | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | < 0.1 | 1
| 1 | 2 | < 0.1 | 26
| Mean |  |  | 16
| Median |  |  | < 0.1
| Std Dev. |  |  | 32
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for Se in OREAS 78 (Indicative Value 5 ppm) |  |  | Indicative
Se | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 5 | 1
| 1 | 2 | < 5 | 27
| Mean |  | 5 | 16
| Median |  | 5 | 5
| Std Dev. |  |  | 33
Rel.Std.Dev.
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Sm in OREAS 78 (Indicative Value 0.59 ppm) |  |  | Indicative
Sm | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.55 | 1
| 1 | 2 | 0.62 | 12
| Mean |  | 0.585 | 16
| Median |  | 0.585 | 0.585
| Std Dev. |  | 0.049497 | 18
| Rel.Std.Dev. |  | 8.461%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Sn in OREAS 78 (Indicative Value 1.1 ppm) |  |  | Indicative
Sn | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 1 | 1
| 1 | 2 | 1.2 | 13
| Mean |  | 1.1 | 16
| Median |  | 1.1 | 1.1
| Std Dev. |  | 0.14142 | 19
| Rel.Std.Dev. |  | 12.86%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Sr in OREAS 78 (Indicative Value 1.6 ppm) |  |  | Indicative
Sr | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 1.7 | 1
| 1 | 2 | 1.5 | 14
| Mean |  | 1.6 | 16
| Median |  | 1.6 | 1.6
| Std Dev. |  | 0.14142 | 20
| Rel.Std.Dev. |  | 8.839%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Ta in OREAS 78 (Indicative Value < 10 ppb) |  |  | Indicative
Ta | Round | Replicate | BV Geo | 1
| No | No | Perth | ppb
|  |  | ABL*MS | 1
1
| 1 | 1 | < 10 | 1
| 1 | 2 | < 10 | 15
| Mean |  |  | 16
| Median |  |  | < 10
| Std Dev. |  |  | 21
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for Tb in OREAS 78 (Indicative Value 20 ppb) |  |  | Indicative
Tb | Round | Replicate | BV Geo | 1
| No | No | Perth | ppb
|  |  | ABL*MS | 1
1
| 1 | 1 | 20 | 1
| 1 | 2 | 20 | 16
| Mean |  | 20 | 16
| Median |  | 20 | 20
| Std Dev. |  | 0 | 22
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Te in OREAS 78 (Indicative Value < 200 ppb) |  |  | Indicative
Te | Round | Replicate | BV Geo | 1
| No | No | Perth | ppb
|  |  | ABL*MS | 0
0
| 1 | 1 | < 200 | 1
| 1 | 2 | < 200 | 17
| Mean |  |  | 16
| Median |  |  | < 200
| Std Dev. |  |  | 23
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for Th in OREAS 78 (Indicative Value 0.14 ppm) |  |  | Indicative
Th | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.12 | 1
| 1 | 2 | 0.15 | 18
| Mean |  | 0.135 | 16
| Median |  | 0.135 | 0.135
| Std Dev. |  | 0.021213 | 24
| Rel.Std.Dev. |  | 15.71%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Tl in OREAS 78 (Indicative Value 0.4 ppm) |  |  | Indicative
Tl | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.4 | 1
| 1 | 2 | 0.4 | 19
| Mean |  | 0.4 | 16
| Median |  | 0.4 | 0.4
| Std Dev. |  | 0 | 25
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Tm in OREAS 78 (Indicative Value < 10 ppb) |  |  | Indicative
Tm | Round | Replicate | BV Geo | 1
| No | No | Perth | ppb
|  |  | ABL*MS | 1
1
| 1 | 1 | < 10 | 1
| 1 | 2 | < 10 | 20
| Mean |  |  | 16
| Median |  |  | < 10
| Std Dev. |  |  | 26
Rel.Std.Dev.
PDM3
| Z-Score (Absolute) |  | NA
| Analytical results for U in OREAS 78 (Indicative Value 0.15 ppm) |  |  | Indicative
U | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.14 | 1
| 1 | 2 | 0.16 | 21
| Mean |  | 0.15 | 16
| Median |  | 0.15 | 0.15
| Std Dev. |  | 0.014142 | 27
| Rel.Std.Dev. |  | 9.428%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for V in OREAS 78 (Indicative Value 0.8 ppm) |  |  | Indicative
V | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.7 | 1
| 1 | 2 | 0.9 | 22
| Mean |  | 0.8 | 16
| Median |  | 0.8 | 0.8
| Std Dev. |  | 0.14142 | 28
| Rel.Std.Dev. |  | 17.68%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for W in OREAS 78 (Indicative Value 14.7 ppm) |  |  | Indicative
W | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 1
1
| 1 | 1 | 14.5 | 1
| 1 | 2 | 14.8 | 23
| Mean |  | 14.65 | 16
| Median |  | 14.65 | 14.65
| Std Dev. |  | 0.21213 | 29
| Rel.Std.Dev. |  | 1.448%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Y in OREAS 78 (Indicative Value 0.41 ppm) |  |  | Indicative
Y | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 0.38 | 1
| 1 | 2 | 0.44 | 24
| Mean |  | 0.41 | 16
| Median |  | 0.41 | 0.41
| Std Dev. |  | 0.042426 | 30
| Rel.Std.Dev. |  | 10.35%
| PDM3 |  | 2.22e-14%
| Z-Score (Absolute) |  | NA
| Analytical results for Yb in OREAS 78 (Indicative Value 20 ppb) |  |  | Indicative
Yb | Round | Replicate | BV Geo | 1
| No | No | Perth | ppb
|  |  | ABL*MS | 1
1
| 1 | 1 | 20 | 1
| 1 | 2 | 20 | 25
| Mean |  | 20 | 16
| Median |  | 20 | 20
| Std Dev. |  | 0 | 31
| Rel.Std.Dev. |  | 0%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Zn in OREAS 78 (Indicative Value 295 ppm) |  |  | Indicative
Zn | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 0
0
| 1 | 1 | 285 | 1
| 1 | 2 | 305 | 26
| Mean |  | 295 | 16
| Median |  | 295 | 295
| Std Dev. |  | 14.1421 | 32
| Rel.Std.Dev. |  | 4.794%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
| Analytical results for Zr in OREAS 78 (Indicative Value 1.25 ppm) |  |  | Indicative
Zr | Round | Replicate | BV Geo | 1
| No | No | Perth | ppm
|  |  | ABL*MS | 2
2
| 1 | 1 | 1.5 | 1
| 1 | 2 | 1 | 27
| Mean |  | 1.25 | 16
| Median |  | 1.25 | 1.25
| Std Dev. |  | 0.35355 | 33
| Rel.Std.Dev. |  | 28.28%
| PDM3 |  | 0%
| Z-Score (Absolute) |  | NA
Note on C13: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C27: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C41: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C55: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C69: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C83: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C97: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C111: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C125: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C139: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C153: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C167: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C181: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C195: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C209: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C223: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C237: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C251: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C265: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C279: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C293: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C307: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C321: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C335: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C349: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C363: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C377: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C391: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C405: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C419: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C433: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C447: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C461: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C475: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C489: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C503: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C517: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C531: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C545: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C559: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C573: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C587: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C601: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C615: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C629: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C643: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C657: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.
Note on C671: Z-Scores have been calculated inclusive of individual outliers. In general, laboratory batches are rejected if Z-Score > 2.5.