## B
OREAS 6Ca - fire assay FAAS (Note: L20 via fire assay - ICP-OES)
| ANALABS | ALS | SGS | GENALYSIS | ALS | AMDEL | ANALABS | ANALABS | MINLAB | ASSAYCORP | AMMTEC | AMDEL | WMC | ALS | AMDEL | BECQUERL | ANALABS | AARL | AAL
| Cooee | Perth | Perth | Maddington | Stafford | Thebarton | Townsville | Brisbane | Perth | Pine Creek | Balcatta | Perth | Kalgoorlie | Bendigo | Darwin | Lucas Hts | Perth | S Africa | Perth
| (L1) | (L2) | (L3) | (L5) | (L6) | (L7) | (L8) | (L9) | (L10) | (L11) | (L12) | (L13) | (L14) | (L15) | (L16) | (L17) | (L18) | (L19) | (L4)
| AAS | AAS | AAS | AAS |  | AAS | AAS | AAS | AAS | AAS | AAS | AAS | AAS | AAS |  |  | AAS | AAS | AAS
| (0.005) | (0.01) |  | (0.01) |  | (0.01) | (0.005) | (0.005) | (0.01) | (0.01) | (0.009) | (0.01) |  | (0.01) |  |  | (0.005) |  | (0.01)
[24 empty] | Table 1. | Approximate major and trace element composition of gold-bearing reference material
OREAS 6Ca; SiO2 to Total as weight percent; rest in parts per million.
Au | 1.43 | 1.54 | 1.48 | 1.52 | - | 1.43 | 1.63 | 1.55 | 1.52 | 1.47 | 1.48 | 1.47 | 1.6 | 1.41 | - | - | 1.3 | 1.6 | 1.35
| 1.26 | 1.53 | 1.5 | 1.44 | - | 1.3 | 1.64 | 1.55 | 1.47 | 1.48 | 1.57 | 1.5 | 1.56 | 1.31 | - | - | 1.39 | 1.56 | 1.36 | [6 empty] | Constituent | Concentration |  | Constituent | Concentration
| 1.38 | 1.54 | 1.49 | 1.45 | - | 1.44 | 1.58 | 1.54 | 1.43 | 1.49 | 1.44 | 1.55 | 1.45 | 1.49 | - | - | 1.27 | 1.63 | 1.34
[26 empty] | SiO2 | 76.7 |  | As | 1266
| 1.51 | 1.53 | 1.48 | 1.44 | - | 1.46 | 1.56 | 1.56 | 1.48 | 1.46 | 1.57 | 1.56 | 1.59 | 1.43 | - | - | 1.3 | 1.6 | 1.34 | [6 empty] | TiO2 | 0.53 |  | Ba | 561
| 1.32 | 1.53 | 1.46 | 1.47 | - | 1.46 | 1.73 |  | 1.45 | 1.48 | 1.5 | 1.56 | 1.45 | 1.24 | - | - | 1.41 | 1.58 | 1.35 | [6 empty] | Al2O3 | 11.8 |  | Br | 5
| 1.46 | 1.58 | 1.34 | 1.44 | - | 1.55 | 1.74 | 1.55 | 1.45 | 1.49 | 1.49 | 1.55 | 1.49 | 1.5 | - | - | 1.12 | 1.61 | 1.34 | [6 empty] | Fe2O3 | 3.92 |  | Ce | 73
[26 empty] | MnO | <0.01 |  | Co | 2
Mean | 1.3933 | 1.5417 | 1.4583 | 1.46 |  | 1.44 | 1.6467 | 1.55 | 1.4667 | 1.4783 | 1.5083 | 1.5317 | 1.5233 | 1.3967 |  | 1.467 | 1.2983 | 1.5967 | 1.3467 | 1.4767 | 0.0072535 |  |  |  |  | MgO | 0.59 |  | Cr | 495
Differences | -5.6446 | 4.4004 | -1.2428 | -1.13 |  | -2.4844 | 11.5109 | 4.9647 | -0.67852 | 0.11154 | 2.1431 | 3.7232 | 3.1589 | -5.4189 |  | -0.65595 | -12.0779 | 8.125 | -8.8048 | [6 empty] | CaO | 0.01 |  | Cs | 8
[26 empty] | Na2O | <0.05 |  | Hf | 4
Test for outliers:- | [25 empty] | K2O | 3.21 |  | La | 36
T1 | 0.39662 | 0.085876 | 0.36433 | 1.8974 | #DIV/0! | 0.12384 | 0.22298 | 3.1402e-14 | 1.6979 | 0.71283 | 0.54561 | 1.6384 | 1.1175 | 0.12983 | #DIV/0! | #DIV/0! | 0.016115 | 0.13762 | 0.40825 | [6 empty] | P2O5 | 0.06 |  | Rb | 143
T2 | 1.4422 | 0.60113 | 0.70063 | 0.63246 | #DIV/0! | 1.7338 | 0.089193 | 3.1402e-14 | 0.10612 | 0.14257 | 1.1875 | 0.84133 | 0.53446 | 0.84391 | #DIV/0! | #DIV/0! | 0.88631 | 1.5138 | 1.633 | [6 empty] | SO3 | 0.02 |  | Sb | 122
T3 | 0.14422 | 0.085876 | 0.53248 | 0.31623 | #DIV/0! | 2.7499e-15 | 0.89193 | 1.4142 | 1.1673 | 0.99797 | 1.3159 | 0.48709 | 1.0689 | 0.90882 | #DIV/0! | #DIV/0! | 0.27395 | 1.3762 | 0.8165 | [6 empty] | H2O+ | 2.88 |  | Sc | 11
[26 empty] | Total | 99.72 |  | Sm | 7
T4 | 1.262 | 0.60113 | 0.36433 | 0.63246 | #DIV/0! | 0.24769 | 1.1595 | 1.4142 | 0.42448 | 1.5682 | 1.1875 | 0.75277 | 0.97174 | 0.32458 | #DIV/0! | #DIV/0! | 0.016115 | 0.13762 | 0.8165 | [9 empty] | Th | 13
T5 | 0.79324 | 0.60113 | 0.028025 | 0.31623 | #DIV/0! | 0.24769 | 1.1149 |  | 0.5306 | 0.14257 | 0.16047 | 0.75277 | 1.0689 | 1.5255 | #DIV/0! | #DIV/0! | 1.0797 | 0.6881 | 0.40825 | [9 empty] | W | 12
T6 | 0.72112 | 1.9751 | 1.9898 | 0.63246 | #DIV/0! | 1.3623 | 1.2487 | 3.1402e-14 | 0.5306 | 0.99797 | 0.35304 | 0.48709 | 0.48587 | 1.0062 | #DIV/0! | #DIV/0! | 1.7243 | 0.55048 | 0.8165 | [9 empty] | Yb | 2
[29 empty] | Zn | ~50
Critical value of T at 1% significance level and n=6 is | (L6): 1.944
OREAS 6Ca - acid digest AAS
| GENALYSIS | ALS | AMDEL | ANALABS | ANALABS | WMC | ANALABS
| (L1): Maddington; (L2): Stafford; (L3): Thebarton; (L5): Townsville; (L6): Brisbane; (L7): Kalgoorlie; (L8): Perth |  |  |  | Table 2. | Analytical results for gold (ppm) in OREAS 6Ca by 50g fire assay/flame AAS (Std. Dev. - one sigma
| (L1): (L5); (L2): (L6); (L3): (L7); (L5): (L8); (L6): (L9); (L7): (L14); (L8): (L18) |  |  |  |  | standard deviation; RSD - one sigma relative standard deviation; outliers in bold).
| AAS |  | AAS | AAS | AAS | AAS | AAS
| (L1): (0.01); (L3): (0.02); (L5): (0.02; (L6): (0.02); (L8): (0.02) |  |  |  | Unit | Replicate | Lab A | Lab B | Lab C | Lab D | Lab E | Lab F | Lab G | Lab H
| 1.11 | - | 1.36 | 1.23 | 1.45 | 1.58 | 1.14
| (L1): 1.19; (L2): -; (L3): 1.25; (L5): 1.29; (L6): 1.36; (L7): 1.54; (L8): 1.13; (L9): Raw |  |  |  | 1 | 1 | 1.43 | 1.54 | 1.48 | 1.52 | 1.43 | 1.63 | 1.55 | 1.52
| (L1): 1.06; (L2): -; (L3): 1.24; (L5): 1.23; (L6): 1.41; (L7): 1.54; (L8): 1.14; (L9): Consensus |  |  |  | 2 | 1 | 1.26 | 1.53 | 1.5 | 1.44 | 1.3 | 1.64 | 1.55 | 1.47
| (L9): Value |  |  |  | 3 | 1 | 1.38 | 1.54 | 1.49 | 1.45 | 1.44 | 1.58 | 1.54 | 1.43
| 1.12 |  | 1.2833 | 1.25 | 1.4067 | 1.5533 | 1.1367 | 1.2917
[23 empty] | 1 | 2 | 1.51 | 1.53 | 1.48 | 1.44 | 1.46 | 1.56 | 1.56 | 1.48
| (L1): 1.35 |  |  |  | 2 | 2 | 1.32 | 1.53 | 1.46 | 1.47 | 1.46 | 1.73 |  | 1.45
| (L1): 1.45 |  |  |  | 3 | 2 | 1.46 | 1.58 | 1.34 | 1.44 | 1.55 | 1.74 | 1.55 | 1.45
1.4
[23 empty] | Mean: |  | 1.3933 | 1.5417 | 1.4583 | 1.46 | 1.44 | 1.6467 | 1.55 | 1.4667
| (L1): 1.4 |  |  |  | Median: |  | 1.405 | 1.535 | 1.48 | 1.445 | 1.45 | 1.635 | 1.55 | 1.46
| (L1): 1.45 |  |  |  | Std. Dev.: |  | 0.092448 | 0.019408 | 0.05947 | 0.031623 | 0.080747 | 0.074744 | 0.0070711 | 0.031411
| (L1): 1.3 |  |  |  | RSD: |  | 6.635 | 1.2589 | 4.0779 | 2.1659 | 5.6074 | 4.5391 | 0.4562 | 2.1417
| 1.3917 | -THIS SET OF GENALYSIS RESULTS HAD PRE-ROAST
Test for outliers:-
| (L1): 0.1525; (L2): #DIV/0!; (L3): 1.1514; (L5): 0.57735; (L6): 0.96099; (L7): 1.1547 |  |  |  | Table 2. | Continued.
| 1.0675 | #DIV/0! | 0.50063 | 1.1547 | 1.0349 | 0.57735
| (L1): 0.91499; (L2): #DIV/0!; (L3): 0.65081; (L5): 0.57735; (L6): 0.073922; (L7): 0.57735 |  |  |  | Unit | Replicate | Lab I | Lab J | Lab K | Lab L | Lab M | Lab N | Lab O | Lab P
Critical value of T at 1% significance level and n=3 is | (L6): 1.155
[23 empty] | 1 | 1 | 1.47 | 1.48 | 1.47 | 1.6 | 1.41 | 1.3 | 1.6 | 1.35
| (L1): OREAS 6Ca - acid digest AAS - outliers removed |  |  |  | 2 | 1 | 1.48 | 1.57 | 1.5 | 1.56 | 1.31 | 1.39 | 1.56 | 1.36
[23 empty] | 3 | 1 | 1.49 | 1.44 | 1.55 | 1.45 | 1.49 | 1.27 | 1.63 | 1.34
| GENALYSIS | ALS | AMDEL | ANALABS | ANALABS | WMC | ANALABS
| (L1): Maddington; (L2): Stafford; (L3): Thebarton; (L5): Townsville; (L6): Brisbane; (L7): Kalgoorlie; (L8): Perth |  |  |  | 1 | 2 | 1.46 | 1.57 | 1.56 | 1.59 | 1.43 | 1.3 | 1.6 | 1.34
| (L1): (L5); (L2): (L6); (L3): (L7); (L5): (L8); (L6): (L9); (L7): (L14); (L8): (L18) |  |  |  | 2 | 2 | 1.48 | 1.5 | 1.56 | 1.45 | 1.24 | 1.41 | 1.58 | 1.35
| (L1): AAS; (L3): AAS; (L5): AAS; (L6): AAS; (L7): AAS; (L8): AAS |  |  |  | 3 | 2 | 1.49 | 1.49 | 1.55 | 1.49 | 1.5 | 1.12 | 1.61 | 1.34
| (L1): (0.01); (L3): (0.02); (L5): (0.02; (L6): (0.02); (L8): (0.02) | [13 empty] | Calculated SD
[23 empty] | Mean: |  | 1.4783 | 1.5083 | 1.5317 | 1.5233 | 1.3967 | 1.2983 | 1.5967 | 1.3467 | 0.10423
| (L1): 1.11; (L2): -; (L3): 1.36; (L5): 1.23; (L6): 1.45; (L7): 1.58; (L8): 1.14 |  |  |  | Median: |  | 1.48 | 1.495 | 1.55 | 1.525 | 1.42 | 1.3 | 1.6 | 1.345
| (L1): 1.19; (L2): -; (L3): 1.25; (L5): 1.29; (L6): 1.36; (L7): 1.54; (L8): 1.13 |  |  |  | Std. Dev.: |  | 0.01169 | 0.051929 | 0.037639 | 0.068605 | 0.1027 | 0.10342 | 0.024221 | 0.008165
| (L1): 1.06; (L2): -; (L3): 1.24; (L5): 1.23; (L6): 1.41; (L7): 1.54; (L8): 1.14 |  |  |  | RSD: |  | 0.79079 | 3.4428 | 2.4574 | 4.5036 | 7.353 | 7.966 | 1.517 | 0.60631
[8 empty] | Final |  | Variance |  | 95% Conf.
| (L1): 1.12; (L3): 1.2833; (L5): 1.25; (L6): 1.4067; (L7): 1.5533; (L8): 1.1367; (L9): Consensus; (L11): of means; (L13): interval |  |  |  | The calculated 1SD of 0.104 determined from the lab data above is clearly too high and so a value was
| (L1): Test for outlying data sets:-; (L9): Value |  |  |  | determined from the 1SD for OREAS 6Pb. The 1SD for 6Pb is 0.052 so pro ratering to the grade for 6Ca
Mean | (L1): 1.12; (L3): 1.2833; (L5): 1.25; (L6): 1.4067; (L7): 1.5533; (L8): 1.1367; (L9): 1.2917; (L11): 0.027399; (L13): 0.17374 |  |  |  | gives an SD of 0.054. The formula used was 1.48/1.425*0.052.
| T1 | T2 | T3 | T4 | T5 | T6 | T7
T | 1.0371 |  | 0.050345 | 0.25172 | 0.69475 | 1.5808 | 0.93641
Critical value of T at 1% significance level and n = 15 | T4: 6; T6: 1.944; T7: therefore there are no outlying data sets | [16 empty] | Table 3. | Analytical results for gold (ppm) in OREAS 6Ca by instrumental neutron activation
analysis on 30g analytical subsample weights (abbreviations as for Table 2).
| T1: Degrees of freedom (p-1) =; T4: 5; T6: hence student's t (alpha=2.5%) = |  | 2.571
[27 empty] | Unit No. | Lab Q
| Recommended value = |  | 1.2917 | + - | 0.17374 | ppm
| T1: Individual outliers removed:- | [19 empty] | 1 | 1.454
| 1.43 | 1.54 | 1.48 | 1.52 | - | 1.43 | 1.63 | 1.55 | 1.52 | 1.47 | 1.48 | 1.47 | 1.6 | 1.41 | - | - | 1.3 | 1.6 | 1.35 | [7 empty] | 2 | 1.495
| 1.26 | 1.53 | 1.5 | 1.44 | - | 1.3 | 1.64 | 1.55 | 1.47 | 1.48 | 1.57 | 1.5 | 1.56 | 1.31 | - | - | 1.39 | 1.56 | 1.36 | [7 empty] | 3 | 1.479
| 1.38 | 1.54 | 1.49 | 1.45 | - | 1.44 | 1.58 | 1.54 | 1.43 | 1.49 | 1.44 | 1.55 | 1.45 | 1.49 | - | - | 1.27 | 1.63 | 1.34 | [7 empty] | 4 | 1.464
[27 empty] | 5 | 1.47
| 1.51 | 1.53 | 1.48 | 1.44 | - | 1.46 | 1.56 | 1.56 | 1.48 | 1.46 | 1.57 | 1.56 | 1.59 | 1.43 | - | - | 1.3 | 1.6 | 1.34 | [7 empty] | 6 | 1.489
| 1.32 | 1.53 | 1.46 | 1.47 | - | 1.46 | 1.73 |  | 1.45 | 1.48 | 1.5 | 1.56 | 1.45 | 1.24 | - | - | 1.41 | 1.58 | 1.35 | Consensus | Variance | 95% Conf. |  |  |  |  | 7 | 1.458 | [5 empty] | Median | Minimum | Maximum | Range | Frequency
| 1.46 | 1.58 |  | 1.44 | - | 1.55 | 1.74 | 1.55 | 1.45 | 1.49 | 1.49 | 1.55 | 1.49 | 1.5 | - | - | 1.12 | 1.61 | 1.34 | Value | of means | interval |  |  |  |  | 8 | 1.444 | [6 empty] | in range | in range
| T1: Test for outlying data sets:- | [19 empty] | 9 | 1.5 | [8 empty] | 1.25 | 0
Mean | 1.3933 | 1.5417 | 1.482 | 1.46 |  | 1.44 | 1.6467 | 1.55 | 1.4667 | 1.4783 | 1.5083 | 1.5317 | 1.5233 | 1.3967 |  | 1.467 | 1.2983 | 1.5967 | 1.3467 | 1.4781 | 0.0076855 | 0.045076 |  |  |  |  | 10 | 1.466 | [5 empty] | 1.4783 | 1.2983 | 1.6467 | 1.3 | 1
| T1 | T2 | T3 | T4 | T5 | T6 | T7 | T8 | T9 | T10 | T11 | T12 | T13 | T14 | T15 | T16 | T17 | T18 | T19 | [7 empty] | 11 | 1.454 | [8 empty] | 1.35 | 1
T | 0.96667 | 0.72534 | 0.044732 | 0.20622 |  | 0.43435 | 1.923 | 0.82039 | 0.13017 | 0.0029076 | 0.34511 | 0.61127 | 0.51621 | 0.92865 |  |  | 2.0503 | 1.3527 | 1.499 | [7 empty] | 12 | 1.425 | [8 empty] | 1.4 | 2
[27 empty] | 13 | 1.485 | [8 empty] | 1.45 | 1
Critical value of T at 1% significance level and n = 15 | T4: 17; T6: 2.785; T7: therefore there are no outlying data sets | [7 empty] | 14 | 1.5 | [8 empty] | 1.5 | 5
[27 empty] | 15 | 1.488 | [8 empty] | 1.55 | 5
| T1: Degrees of freedom (p-1) =; T4: 16; T6: hence student's t (alpha=2.5%) =; T9: 2.12 | [7 empty] | 16 | 1.467 | [8 empty] | 1.6 | 1
[27 empty] | 17 | 1.459 | [8 empty] | 1.65 | 1
| T1: Recommended value =; T3: 1.4781; T4: + -; T5: 0.045076; T6: ppm | [7 empty] | 18 | 1.429 | [8 empty] | 1.7 | 0
[27 empty] | 19 | 1.432
[27 empty] | 20 | 1.397
Modified ANOVA for unbalanced data:- | [26 empty] | 21 | 1.446
[27 empty] | 22 | 1.441
| ANALABS | ALS | SGS | GENALYSIS | ALS | AMDEL | ANALABS | ANALABS | MINLAB | ASSAYCORP | AMMTEC | AMDEL | WMC | ALS | AMDEL | BECQUERL | ANALABS | AARL | Ultra Trace | [7 empty] | 23 | 1.465
| Cooee | Perth | Perth | Maddington | Stafford | Thebarton | Townsville | Brisbane | Perth | Pine Creek | Balcatta | Meekatharra | Kalgoorlie | Bendigo | Darwin | Lucas Hts | Perth | S Africa | Perth | [7 empty] | 24 | 1.438
| (L1) | (L2) | (L3) | (L5) | (L6) | (L7) | (L8) | (L9) | (L10) | (L11) | (L12) | (L13) | (L19) | (L15) | (L16) | (L17) | (L18) | (L19) | (L20) | [7 empty] | 25 | 1.471
[27 empty] | 26 | 1.454
[27 empty] | 27 | 1.506
unit 1 rep 1 | 1.78 | 1.63 | 1.64 | 1.75 | 1.7 | 1.67 | 1.76 | 1.81 | 1.62 | 1.69 | 1.52 | 1.64 | 1.49 | 1.51 | 1.77 | 1.6 | 1.54 |  | 1.7
unit 2 rep 1 | 1.79 | 1.58 | 1.42 | 1.77 | 1.71 | 1.67 | 1.63 | 1.78 | 1.64 | 1.65 | 1.67 | 1.52 | 1.58 | 1.6 | 1.71 | 1.61 | 1.48 |  | 1.7 | [7 empty] | Mean: | 1.4621
unit 3 rep 1 | 1.8 | 1.7 | 1.52 | 1.77 | 1.71 | 1.56 | 1.7 | 1.77 | 1.58 | 1.72 | 1.43 | 1.67 | 1.75 | 1.56 | 1.73 | 1.6 | 1.51 |  | 1.7 | [7 empty] | Median: | 1.464
unit 1 rep 2 | 1.74 | 1.64 | 1.49 | 1.71 | 1.7 | 1.68 | 1.72 | 1.81 | 1.63 | 1.7 | 1.65 | 1.5 |  | 1.61 | 1.73 | 1.6 | 1.6 |  | 1.7 | [7 empty] | Std. Dev.: | 0.026115
unit 2 rep 2 | 1.78 | 1.6 | 1.69 | 1.7 | 1.72 | 1.66 | 1.7 | 1.78 | 1.6 | 1.65 | 1.62 | 1.61 |  | 1.63 | 1.71 | 1.62 | 1.49 |  | 1.7 | [7 empty] | RSD: | 1.7862
unit 3 rep 2 | 1.83 | 1.61 | 1.57 | 1.72 | 1.73 | 1.67 | 1.7 | 1.77 | 1.61 | 1.68 | 1.66 | 1.57 |  | 1.59 | 1.76 | 1.62 | 1.49 |  | 1.7
ave. unit 1 | 1.76 | 1.635 | 1.565 | 1.73 | 1.7 | 1.675 | 1.74 | 1.81 | 1.625 | 1.695 | 1.585 | 1.57 | 1.49 | 1.56 | 1.75 | 1.6 | 1.57 |  | 1.7
ave. unit 2 | 1.785 | 1.59 | 1.555 | 1.735 | 1.715 | 1.665 | 1.665 | 1.78 | 1.62 | 1.65 | 1.645 | 1.565 | 1.58 | 1.615 | 1.71 | 1.615 | 1.485 |  | 1.7 |  |  |  |  | Table 4. | Analytical results for gold (ppm) in OREAS 6Ca by aqua regia digest/flame AAS
ave. unit 3 | 1.815 | 1.655 | 1.545 | 1.745 | 1.72 | 1.615 | 1.7 | 1.77 | 1.595 | 1.7 | 1.545 | 1.62 | 1.75 | 1.575 | 1.745 | 1.61 | 1.5 |  | 1.7 | [5 empty] | on 25-30g analytical subsample weights (abbreviations as for Table 2).
ave. unit 1 | 1.76 | 1.635 | 1.565 | 1.73 | 1.7 | 1.675 | 1.74 | 1.81 | 1.625 | 1.695 | 1.585 | 1.57 |  | 1.56 | 1.75 | 1.6 | 1.57 |  | 1.7
ave. unit 2 | 1.785 | 1.59 | 1.555 | 1.735 | 1.715 | 1.665 | 1.665 | 1.78 | 1.62 | 1.65 | 1.645 | 1.565 |  | 1.615 | 1.71 | 1.615 | 1.485 |  | 1.7 | [5 empty] | Unit | Lab D | Lab E | Lab F | Lab G | Lab L | Lab N
ave. unit 3 | 1.815 | 1.655 | 1.545 | 1.745 | 1.72 | 1.615 | 1.7 | 1.77 | 1.595 | 1.7 | 1.545 | 1.62 |  | 1.575 | 1.745 | 1.61 | 1.5 |  | 1.7
ave.all units | 1.7867 | 1.6267 | 1.555 | 1.7367 | 1.7117 | 1.6517 | 1.7017 | 1.7867 | 1.6133 | 1.6817 | 1.5917 | 1.585 | 1.6067 | 1.5833 | 1.735 | 1.6083 | 1.5183 |  | 1.7 | [5 empty] | 1 | 1.11 | 1.36 | 1.23 | 1.45 | 1.58 | 1.14
SS2 calculations:- | [19 empty] | SS2 |  |  |  |  | 2 | 1.19 | 1.25 | 1.29 | 1.36 | 1.54 | 1.13
SS2 | 0.0030333 | 0.0044333 | 0.0004 | 0.00023333 | 0.00043333 | 0.0041333 | 0.0056333 | 0.0017333 | 0.0010333 | 0.0030333 | 0.010133 | 0.0037 |  | 0.0032333 | 0.0019 | 0.00023333 | 0.0082333 |  | 7.053e-38 | 0.051533 |  |  |  |  | 3 | 1.06 | 1.24 | 1.23 | 1.41 | 1.54 | 1.14
SS3 calculations:- | (L19): 0.069733 | SS3
SS3 | 0.0013 | 0.0043 | 0.04895 | 0.0045 | 0.00025 | 0.00615 | 0.00325 | 0 | 0.0013 | 0.00085 | 0.03615 | 0.01885 | 0 | 0.0059 | 0.00125 | 0.00025 | 0.00205 |  | 0 | 0.1353 |  |  |  |  | Mean: | 1.12 | 1.2833 | 1.25 | 1.4067 | 1.5533 | 1.1367
No. units | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |  | 3 | f2 |  |  |  |  | Median: | 1.11 | 1.25 | 1.23 | 1.41 | 1.54 | 1.14
f2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 2 | 36 |  |  |  |  | Std. Dev.: | 0.065574 | 0.066583 | 0.034641 | 0.045092 | 0.023094 | 0.0057735
[20 empty] | f3 |  |  |  |  | RSD: | 5.8549 | 5.1883 | 2.7713 | 3.2056 | 1.4867 | 0.50793
f3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 3 | 3 | 3 | 3 |  | 3 | 51
MS2
MS2 | [19 empty] | 0.0014315
MS3
MS3 | [19 empty] | 0.0026529
| Source |  | Summ of squares |  | Degrees of freedom |  | Mean square
| Between units |  | 0.051533 |  | 36 |  | 0.0014315
| Measurement error |  | 0.1353 |  | 51 |  | 0.0026529
OREAS 6Ca - GOLD TOLERANCE DETERMINATIONS: 1.462 +- 0.059 ppm | (L9): OREAS 6Ca - GOLD TOLERANCE DETERMINATIONS: 1.467 +- 0.011 ppm
BECQUEREL RESULTS ONLY ON 30g ALIQUOTS | (L9): BECQUEREL RESULTS ONLY ON 1g ALIQUOTS
| Becquerel | [7 empty] | Becquerel
| INAA | [7 empty] | INAA
| (30g) | [7 empty] | (1g)
1 | (L1): 1.454; (L9): 1; (L10): 1.531
2 | (L1): 1.495; (L9): 2; (L10): 1.492
3 | (L1): 1.479; (L9): 3; (L10): 1.455
4 | (L1): 1.464; (L9): 4; (L10): 1.499
5 | (L1): 1.47; (L9): 5; (L10): 1.485
6 | (L1): 1.489; (L9): 6; (L10): 1.442
7 | (L1): 1.458; (L9): 7; (L10): 1.422
8 | (L1): 1.444; (L9): 8; (L10): 1.469
9 | (L1): 1.5; (L9): 9; (L10): 1.456
10 | (L1): 1.466; (L9): 10; (L10): 1.451
11 | (L1): 1.454; (L9): 11; (L10): 1.449
12 | (L1): 1.425; (L9): 12; (L10): 1.441
13 | (L1): 1.485; (L9): 13; (L10): 1.462
14 | (L1): 1.5; (L9): 14; (L10): 1.486
15 | (L1): 1.488; (L9): 15; (L10): 1.478
16 | (L1): 1.467; (L9): 16; (L10): 1.494
17 | (L1): 1.459; (L9): 17; (L10): 1.523
18 | (L1): 1.429; (L9): 18; (L10): 1.433
19 | (L1): 1.432; (L9): 19; (L10): 1.455
20 | (L1): 1.397; (L9): 20; (L10): 1.463
21 | (L1): 1.446; (L9): 21; (L10): 1.416
22 | (L1): 1.441; (L9): 22; (L10): 1.463
23 | (L1): 1.465; (L9): 23; (L10): 1.467
24 | (L1): 1.438; (L9): 24; (L10): 1.472
25 | (L1): 1.471; (L9): 25; (L10): 1.469
26 | (L1): 1.454; (L9): 26; (L10): 1.444
27 | (L1): 1.506; (L9): 27; (L10): 1.495
Mean | (L1): 1.4621; (L9): Mean; (L10): 1.4671
Std. Dev. | (L1): 0.026115; (L9): Std. Dev.; (L10): 0.027659
Rel.Std.Dev. | (L1): 1.7862; (L9): Rel.Std.Dev.; (L10): 1.8853
Samp.Const. | (L1): 95.7113; (L9): Samp.Const.; (L10): 3.5543
R ,%(50g) | (L1): 1.3836; (L9): R ,%(50g); (L10): 0.26662
n | (L1): 27; (L9): n; (L10): 27
%Tol. Intervl | (L1): 4.04; (L2): when n=27, k'=2.92 (from tolerance tables); (L9): %Tol. Intervl; (L10): 0.77853; (L11): when n=27, k'=2.92 (from tolerance tables)
Tol. Interval | (L1): 1.4621; (L2): +-; (L3): 0.059068; (L9): Tol. Interval; (L10): 1.4671; (L11): +-; (L12): 0.011422
| K = RxRxw | [7 empty] | K = RxRxw
| R = sqrt(K/w) | [7 empty] | R = sqrt(K/w)
27
Note on AD51: Formula failed to convert
Note on AE51: Formula failed to convert
Note on AF51: Formula failed to convert
Note on AG51: Formula failed to convert
Note on AH51: Formula failed to convert
Note on AI51: Formula failed to convert
Note on AJ51: Formula failed to convert
Note on AK51: Formula failed to convert
Note on AD72: Formula failed to convert
Note on AE72: Formula failed to convert
Note on AF72: Formula failed to convert
Note on AG72: Formula failed to convert
Note on AH72: Formula failed to convert
Note on AI72: Formula failed to convert
Note on AJ72: Formula failed to convert
Note on AK72: Formula failed to convert
Note on AN98: Formula failed to convert
Note on AG118: Formula failed to convert
Note on B132: Formula failed to convert
Note on C132: Formula failed to convert
Note on D132: Formula failed to convert
Note on E132: Formula failed to convert
Note on F132: Formula failed to convert
Note on G132: Formula failed to convert
Note on H132: Formula failed to convert
Note on I132: Formula failed to convert
Note on J132: Formula failed to convert
Note on K132: Formula failed to convert
Note on L132: Formula failed to convert
Note on M132: Formula failed to convert
Note on O132: Formula failed to convert
Note on P132: Formula failed to convert
Note on Q132: Formula failed to convert
Note on R132: Formula failed to convert
Note on T132: Formula failed to convert
Note on N133: Formula failed to convert
Note on B134: Formula failed to convert
Note on C134: Formula failed to convert
Note on D134: Formula failed to convert
Note on E134: Formula failed to convert
Note on F134: Formula failed to convert
Note on G134: Formula failed to convert
Note on H134: Formula failed to convert
Note on I134: Formula failed to convert
Note on J134: Formula failed to convert
Note on K134: Formula failed to convert
Note on L134: Formula failed to convert
Note on M134: Formula failed to convert
Note on N134: Formula failed to convert
Note on O134: Formula failed to convert
Note on P134: Formula failed to convert
Note on Q134: Formula failed to convert
Note on R134: Formula failed to convert
Note on T134: Formula failed to convert
Note on AE135: Formula failed to convert
Note on AF135: Formula failed to convert
Note on AG135: Formula failed to convert
Note on AH135: Formula failed to convert
Note on AI135: Formula failed to convert
Note on AJ135: Formula failed to convert
Note on AM71: Paul Hamlyn: Don't use - see elsewhere